## dissGasData
Exetainer Codes
sample.date | lake | site | sample.type | sample.depth.ft | sample.depth.m | exetainer.code | water.volume.ml | headspace.volume.ml | headspace.gas | headspace.equil.temp.c | bp.mm.hg
2018-06-07 | acton | u14 | dg | 0.328 | 0.1 |  | 115 | 25 | he
2018-06-07 | acton | u14 | dg | 0.328 | 0.1 |  | 115 | 25 | he
2018-06-07 | acton | u14 | dg | 0.328 | 0.1 |  | 115 | 25 | he
2018-06-07 | acton | u12 | dg | 0.328 | 0.1 | ACT18025 | 115 | 25 | he | 26 | 741.9
2018-06-07 | acton | u12 | dg | 0.328 | 0.1 | ACT18026 | 115 | 25 | he | 24 | 741.9
2018-06-07 | acton | u12 | dg | 0.328 | 0.1 | ACT18027 | 115 | 25 | he | 24 | 741.9
2018-06-07 | acton | u14 | air | 0 | 0 |  | NA | NA | NA
2018-06-07 | acton | u14 | air | 0 | 0 |  | NA | NA | NA
2018-06-07 | acton | u14 | air | 0 | 0 |  | NA | NA | NA
2018-06-07 | acton | u12 | air | 0 | 0 | ACT18032 | NA | NA | NA |  | 741.9
2018-06-07 | acton | u12 | air | 0 | 0 | ACT18033 | NA | NA | NA |  | 741.9
2018-06-07 | acton | u12 | air | 0 | 0 | ACT18034 | NA | NA | NA |  | 741.9
2018-06-07 | acton | u14 | dg | 2.46 | 0.75 |  | 110 | 30 | he
2018-06-07 | acton | u14 | dg | 4.264 | 1.3 |  | 110 | 30 | he
2018-06-07 | acton | u12 | dg | 6.56 | 2 | ACT18028 | 110 | 30 | he | 24.5 | 741.9
2018-06-07 | acton | u12 | dg | 13.12 | 4 | ACT18029 | 110 | 30 | he | 24.5 | 741.9
2018-06-07 | acton | u12 | dg | 19.68 | 6 | ACT18030 | 110 | 30 | he | 24 | 741.9
2018-06-07 | acton | u12 | dg | 22.96 | 7 | ACT18031 | 110 | 30 | he | 24 | 741.9
2018-06-15 | acton | u14 | dg | 0.328 | 0.1 | ACT18070 | 115 | 25 | he | 28 | 744.7
2018-06-15 | acton | u14 | dg | 0.328 | 0.1 | ACT18071 | 115 | 25 | he | 29 | 744.7
2018-06-15 | acton | u14 | dg | 0.328 | 0.1 | ACT18072 | 115 | 25 | he | 28 | 744.7
2018-06-15 | acton | u12 | dg | 0.328 | 0.1 | ACT18061 | 115 | 25 | he | 27 | 744.7
2018-06-15 | acton | u12 | dg | 0.328 | 0.1 | ACT18062 | 115 | 25 | he | 27.5 | 744.7
2018-06-15 | acton | u12 | dg | 0.328 | 0.1 | ACT18094 | 115 | 25 | he | 27 | 744.7
2018-06-15 | acton | u14 | air | 0 | 0 | ACT18065 | NA | NA | NA |  | 744.7
2018-06-15 | acton | u14 | air | 0 | 0 | ACT18066 | NA | NA | NA |  | 744.7
2018-06-15 | acton | u14 | air | 0 | 0 | ACT18067 | NA | NA | NA |  | 744.7
2018-06-15 | acton | u12 | air | 0 | 0 | ACT18054 | NA | NA | NA |  | 744.7
2018-06-15 | acton | u12 | air | 0 | 0 | ACT18055 | NA | NA | NA |  | 744.7
2018-06-15 | acton | u12 | air | 0 | 0 | ACT18056 | NA | NA | NA |  | 744.7
2018-06-15 | acton | u14 | dg | 2.46 | 0.75 | ACT18069 | 115 | 25 | he | 28.5 | 744.7
2018-06-15 | acton | u14 | dg | 4.264 | 1.3 | ACT18068 | 115 | 25 | he | 30 | 744.7
2018-06-15 | acton | u12 | dg | 22.96 | 7 | ACT18057 | 115 | 25 | he | 28 | 744.7
2018-06-15 | acton | u12 | dg | 19.68 | 6 | ACT18058 | 115 | 25 | he | 27 | 744.7
2018-06-15 | acton | u12 | dg | 13.12 | 4 | ACT18059 | 115 | 25 | he | 26.5 | 744.7
2018-06-15 | acton | u12 | dg | 6.56 | 2 | ACT18060 | 115 | 25 | he | 27 | 744.7
2018-06-28 | acton | u14 | dg | 0.328 | 0.1 | ACT18005 | 115 | 25 | he | 29.5
2018-06-28 | acton | u14 | dg | 0.328 | 0.1 | ACT18006 | 115 | 25 | he | 29
2018-06-28 | acton | u14 | dg | 0.328 | 0.1 | ACT18007 | 115 | 25 | he | 29
2018-06-28 | acton | u12 | dg | 0.328 | 0.1 | ACT18012 | 115 | 25 | he | 28
2018-06-28 | acton | u12 | dg | 0.328 | 0.1 | ACT18013 | 115 | 25 | he | 27.5
2018-06-28 | acton | u12 | dg | 0.328 | 0.1 | ACT18014 | 115 | 25 | he | 27
2018-06-28 | acton | u14 | air | 0 |  | ACT18110 | NA | NA | NA |  | 744.2
2018-06-28 | acton | u14 | air | 0 |  | ACT18073 | NA | NA | NA |  | 744.2
2018-06-28 | acton | u14 | air | 0 |  | ACT18111 | NA | NA | NA |  | 744.2
2018-06-28 | acton | u12 | air | 0 |  | ACT18021 | NA | NA | NA |  | 743.4
2018-06-28 | acton | u12 | air | 0 |  | ACT18120 | NA | NA | NA |  | 743.4
2018-06-28 | acton | u12 | air | 0 |  | ACT18001 | NA | NA | NA |  | 743.4
2018-06-28 | acton | u14 | dg | 2.46 | 0.75 | ACT18009 | 115 | 25 | he | 28
2018-06-28 | acton | u14 | dg | 4.264 | 1.3 | ACT18008 | 115 | 25 | he | 28
2018-06-28 | acton | u12 | dg | 22.96 | 7 | ACT18018 | 115 | 25 | he | 26.5
2018-06-28 | acton | u12 | dg | 19.68 | 6 | ACT18017 | 115 | 25 | he | 27
2018-06-28 | acton | u12 | dg | 13.12 | 4 | ACT18016 | 115 | 25 | he | 27
2018-06-28 | acton | u12 | dg | 6.56 | 2 | ACT18015 | 115 | 25 | he | 27.5
2018-07-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18151 | 115 | 25 | he | 29.5
2018-07-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18152 | 115 | 25 | he | 29
2018-07-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18153 | 115 | 25 | he | 29
2018-07-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18140 | 115 | 25 | he | 29
2018-07-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18141 | 115 | 25 | he | 29
2018-07-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18142 | 115 | 25 | he | 29
2018-07-13 | acton | u14 | air | 0 |  | ACT18146 | NA | NA | NA |  | 747.1
2018-07-13 | acton | u14 | air | 0 |  | ACT18147 | NA | NA | NA |  | 747.1
2018-07-13 | acton | u14 | air | 0 |  | ACT18148 | NA | NA | NA |  | 747.1
2018-07-13 | acton | u12 | air | 0 |  | ACT18143 | NA | NA | NA |  | 747.9
2018-07-13 | acton | u12 | air | 0 |  | ACT18144 | NA | NA | NA |  | 747.9
2018-07-13 | acton | u12 | air | 0 |  | ACT18145 | NA | NA | NA |  | 747.9
2018-07-13 | acton | u14 | dg | 2.46 | 0.75 | ACT18155 | 115 | 25 | he | 29
2018-07-13 | acton | u14 | dg | 4.264 | 1.3 | ACT18154 | 115 | 25 | he | 29
2018-07-13 | acton | u12 | dg | 22.96 | 7 | ACT18136 | 115 | 25 | he | 27.5
2018-07-13 | acton | u12 | dg | 19.68 | 6 | ACT18137 | 115 | 25 | he | 28
2018-07-13 | acton | u12 | dg | 13.12 | 4 | ACT18138 | 115 | 25 | he | 28
2018-07-13 | acton | u12 | dg | 6.56 | 2 | ACT18139 | 115 | 25 | he | 29
2018-07-25 | acton | u14 | dg | 0.328 | 0.1 | ACT18174 | 115 | 25 | he | 28
2018-07-25 | acton | u14 | dg | 0.328 | 0.1 | ACT18175 | 115 | 25 | he | 28
2018-07-25 | acton | u14 | dg | 0.328 | 0.1 | ACT18176 | 115 | 25 | he | 27.5
2018-07-25 | acton | u12 | dg | 0.328 | 0.1 | ACT18161 | 115 | 25 | he | 27
2018-07-25 | acton | u12 | dg | 0.328 | 0.1 | ACT18162 | 115 | 25 | he | 26.5
2018-07-25 | acton | u12 | dg | 0.328 | 0.1 | ACT18163 | 115 | 25 | he | 27
2018-07-25 | acton | u14 | air | 0 |  | ACT18168 | NA | NA | NA |  | 741.2
2018-07-25 | acton | u14 | air | 0 |  | ACT18169 | NA | NA | NA |  | 741.2
2018-07-25 | acton | u14 | air | 0 |  | ACT18170 | NA | NA | NA |  | 741.2
2018-07-25 | acton | u12 | air | 0 |  | ACT18158 | NA | NA | NA |  | 741.1
2018-07-25 | acton | u12 | air | 0 |  | ACT18159 | NA | NA | NA |  | 741.1
2018-07-25 | acton | u12 | air | 0 |  | ACT18160 | NA | NA | NA |  | 741.1
2018-07-25 | acton | u14 | dg | 2.46 | 0.75 | ACT18177 | 115 | 25 | he | 27.5
2018-07-25 | acton | u14 | dg | 4.264 | 1.3 | ACT18178 | 115 | 25 | he | 27.5
2018-07-25 | acton | u12 | dg | 22.96 | 7 | ACT18167 | 115 | 25 | he | 26.5
2018-07-25 | acton | u12 | dg | 19.68 | 6 | ACT18166 | 115 | 25 | he | 26.5
2018-07-25 | acton | u12 | dg | 13.12 | 4 | ACT18165 | 115 | 25 | he | 26
2018-07-25 | acton | u12 | dg | 6.56 | 2 | ACT18164 | 115 | 25 | he | 26
2018-08-09 | acton | u14 | dg | 0.328 | 0.1 | ACT18221 | 115 | 25 | he | 29.5
2018-08-09 | acton | u14 | dg | 0.328 | 0.1 | ACT18222 | 115 | 25 | he | 29.5
2018-08-09 | acton | u14 | dg | 0.328 | 0.1 | ACT18223 | 115 | 25 | he | 29.5
2018-08-09 | acton | u12 | dg | 0.328 | 0.1 | ACT18207 | 115 | 25 | he | 28.5
2018-08-09 | acton | u12 | dg | 0.328 | 0.1 | ACT18208 | 115 | 25 | he | 28
2018-08-09 | acton | u12 | dg | 0.328 | 0.1 | ACT18209 | 115 | 25 | he | 28
2018-08-09 | acton | u14 | air | 0 |  | ACT18218 | NA | NA | NA | 742.4
2018-08-09 | acton | u14 | air | 0 |  | ACT18219 | NA | NA | NA | 742.4
2018-08-09 | acton | u14 | air | 0 |  | ACT18220 | NA | NA | NA | 742.4
2018-08-09 | acton | u12 | air | 0 |  | ACT18210 | NA | NA | NA | 742.2
2018-08-09 | acton | u12 | air | 0 |  | ACT18211 | NA | NA | NA | 742.2
2018-08-09 | acton | u12 | air | 0 |  | ACT18212 | NA | NA | NA | 742.2
2018-08-09 | acton | u14 | dg | 4.264 | 1.3 | ACT18224 | 115 | 25 | he | 29.5
2018-08-09 | acton | u14 | dg | 2.46 | 0.75 | ACT18225 | 115 | 25 | he | 29.5
2018-08-09 | acton | u12 | dg | 22.96 | 7 | ACT18203 | 115 | 25 | he | 25.5
2018-08-09 | acton | u12 | dg | 19.68 | 6 | ACT18204 | 115 | 25 | he | 26.5
2018-08-09 | acton | u12 | dg | 13.12 | 4 | ACT18205 | 115 | 25 | he | 27.5
2018-08-09 | acton | u12 | dg | 6.56 | 2 | ACT18206 | 115 | 25 | he | 28
2018-08-28 | acton | u14 | dg | 0.328 | 0.1 | ACT18282 | 115 | 25 | he | 29.5
2018-08-28 | acton | u14 | dg | 0.328 | 0.1 | ACT18283 | 115 | 25 | he | 28.5
2018-08-28 | acton | u14 | dg | 0.328 | 0.1 | ACT18284 | 115 | 25 | he | 28.5
2018-08-28 | acton | u12 | dg | 0.328 | 0.1 | ACT18282 | 115 | 25 | he | 30
2018-08-28 | acton | u12 | dg | 0.328 | 0.1 | ACT18283 | 115 | 25 | he | 29.5
2018-08-28 | acton | u12 | dg | 0.328 | 0.1 | ACT18284 | 115 | 25 | he | 29.5
2018-08-28 | acton | u14 | air | 0 |  | ACT18289 | NA | NA | NA |  | 747.6
2018-08-28 | acton | u14 | air | 0 |  | ACT18290 | NA | NA | NA |  | 747.6
2018-08-28 | acton | u14 | air | 0 |  | ACT18291 | NA | NA | NA |  | 747.6
2018-08-28 | acton | u12 | air | 0 |  | ACT18277 | NA | NA | NA |  | 746.1
2018-08-28 | acton | u12 | air | 0 |  | ACT18278 | NA | NA | NA |  | 746.1
2018-08-28 | acton | u12 | air | 0 |  | ACT18279 | NA | NA | NA |  | 746.1
2018-08-28 | acton | u14 | dg | 2.46 | 0.75 | ACT18298 | 115 | 25 | he | 29.5
2018-08-28 | acton | u14 | dg | 4.264 | 1.3 | ACT18299 | 115 | 25 | he | 29
2018-08-28 | acton | u12 | dg | 6.56 | 2 | ACT18285 | 115 | 25 | he | 28.5
2018-08-28 | acton | u12 | dg | 13.12 | 4 | ACT18286 | 115 | 25 | he | 28.5
2018-08-28 | acton | u12 | dg | 19.68 | 6 | ACT18287 | 115 | 25 | he | 28.5
2018-08-28 | acton | u12 | dg | 22.96 | 7 | ACT18288 | 115 | 25 | he | 28
2018-09-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18317 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18318 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18320 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18309 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18310 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18311 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u14 | air | 0 |  | ACT18312 | NA | NA | NA |  | 748.1
2018-09-13 | acton | u14 | air | 0 |  | ACT18314 | NA | NA | NA |  | 748.1
2018-09-13 | acton | u14 | air | 0 |  | ACT18315 | NA | NA | NA |  | 748.1
2018-09-13 | acton | u12 | air | 0 |  | ACT18300 | NA | NA | NA |  | 746.6
2018-09-13 | acton | u12 | air | 0 |  | ACT18301 | NA | NA | NA |  | 746.6
2018-09-13 | acton | u12 | air | 0 |  | ACT18302 | NA | NA | NA |  | 746.6
2018-09-13 | acton | u14 | dg | 4.264 | 1.3 | ACT18321 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u14 | dg | 2.46 | 0.75 | ACT18319 | 115 | 25 | he |  |  | thermometer broken
2018-09-13 | acton | u12 | dg | 22.96 | 7 | ACT18308 | 115 | 25 | he | 24
2018-09-13 | acton | u12 | dg | 19.68 | 6 | ACT18307 | 115 | 25 | he | 24.5
2018-09-13 | acton | u12 | dg | 13.12 | 4 | ACT18306 | 115 | 25 | he | 25.5
2018-09-13 | acton | u12 | dg | 6.56 | 2 | ACT18305 | 115 | 25 | he |  |  | thermometer broken
2018-10-03 | acton | u14 | dg | 0.328 | 0.1 | ACT18462 | 115 | 25 | he | 25
2018-10-03 | acton | u14 | dg | 0.328 | 0.1 | ACT18463 | 115 | 25 | he | 25
2018-10-03 | acton | u14 | dg | 0.328 | 0.1 | ACT18464 | 115 | 25 | he | 24.5
2018-10-03 | acton | u12 | dg | 0.328 | 0.1 | ACT18375 | 115 | 25 | he | 24
2018-10-03 | acton | u12 | dg | 0.328 | 0.1 | ACT18376 | 115 | 25 | he | 24
2018-10-03 | acton | u12 | dg | 0.328 | 0.1 | ACT18377 | 115 | 25 | he | 24
2018-10-03 | acton | u14 | air | 0 |  | ACT18465 | NA | NA | NA |  | 743.4
2018-10-03 | acton | u14 | air | 0 |  | ACT18466 | NA | NA | NA |  | 743.4
2018-10-03 | acton | u14 | air | 0 |  | ACT18467 | NA | NA | NA |  | 743.4
2018-10-03 | acton | u12 | air | 0 |  | ACT18378 | NA | NA | NA
2018-10-03 | acton | u12 | air | 0 |  | ACT18380 | NA | NA | NA
2018-10-03 | acton | u12 | air | 0 |  | ACT18457 | NA | NA | NA
2018-10-03 | acton | u14 | dg | 4.264 | 1.3 | ACT18460 | 115 | 25 | he | 26.5
2018-10-03 | acton | u14 | dg | 2.46 | 0.75 | ACT18461 | 115 | 25 | he | 25.5
2018-10-03 | acton | u12 | dg | 22.96 | 7 | ACT18371 | 115 | 25 | he | 24
2018-10-03 | acton | u12 | dg | 19.68 | 6 | ACT18372 | 115 | 25 | he | 23.5
2018-10-03 | acton | u12 | dg | 13.12 | 4 | ACT18373 | 115 | 25 | he | 24
2018-10-03 | acton | u12 | dg | 6.56 | 2 | ACT18374 | 115 | 25 | he | 24
2018-10-18 | acton | u14 | dg | 0.328 | 0.1 | ACT18487 | 115 | 25 | he | 17 |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u14 | dg | 0.328 | 0.1 | ACT18488 | 115 | 25 | he |  |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u14 | dg | 0.328 | 0.1 | ACT18489 | 115 | 25 | he |  |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 0.328 | 0.1 | ACT18474 | 115 | 25 | he | 15 |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 0.328 | 0.1 | ACT18475 | 115 | 25 | he |  |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 0.328 | 0.1 | ACT18476 | 115 | 25 | he | 15 |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u14 | air | 0 |  | ACT18484 | NA | NA | NA |  | 753.7
2018-10-18 | acton | u14 | air | 0 |  | ACT18485 | NA | NA | NA |  | 753.7
2018-10-18 | acton | u14 | air | 0 |  | ACT18486 | NA | NA | NA |  | 753.7
2018-10-18 | acton | u12 | air | 0 |  | ACT18471 | NA | NA | NA |  | 752.1
2018-10-18 | acton | u12 | air | 0 |  | ACT18472 | NA | NA | NA |  | 752.1
2018-10-18 | acton | u12 | air | 0 |  | ACT18473 | NA | NA | NA |  | 752.1
2018-10-18 | acton | u14 | dg | 4.264 | 1.3 | ACT18491 | 115 | 25 | he |  |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u14 | dg | 2.46 | 0.75 | ACT18490 | 115 | 25 | he |  |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 22.96 | 7 | ACT18480 | 115 | 25 | he |  |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 19.68 | 6 | ACT18479 | 115 | 25 | he | 16 |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 13.12 | 4 | ACT18478 | 115 | 25 | he | 15 |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-18 | acton | u12 | dg | 6.56 | 2 | ACT18477 | 115 | 25 | he | 15.5 |  | Thermometer 1 dropped and broken, thermometer 2 alcohol fragmented and not reading properly, Adam tried shaking downward to fix to no avail
2018-10-30 | acton | u14 | dg | 0.328 | 0.1 | ACT18492 | 115 | 25 | he | 12
2018-10-30 | acton | u14 | dg | 0.328 | 0.1 | ACT18493 | 115 | 25 | he | 12
2018-10-30 | acton | u14 | dg | 0.328 | 0.1 | ACT18494 | 115 | 25 | he | 12
2018-10-30 | acton | u12 | dg | 0.328 | 0.1 | ACT18497 | 115 | 25 | he | 14.5
2018-10-30 | acton | u12 | dg | 0.328 | 0.1 | ACT18498 | 115 | 25 | he | 14
2018-10-30 | acton | u12 | dg | 0.328 | 0.1 | ACT18499 | 115 | 25 | he | 14.5
2018-10-30 | acton | u14 | air | 0 |  | ACT18500 | NA | NA | NA
2018-10-30 | acton | u14 | air | 0 |  | ACT18501 | NA | NA | NA
2018-10-30 | acton | u14 | air | 0 |  | ACT18502 | NA | NA | NA
2018-10-30 | acton | u12 | air | 0 |  | ACT18507 | NA | NA | NA |  | 740.6
2018-10-30 | acton | u12 | air | 0 |  | ACT18508 | NA | NA | NA |  | 740.6
2018-10-30 | acton | u12 | air | 0 |  | ACT18509 | NA | NA | NA |  | 740.6
2018-10-30 | acton | u14 | dg | 4.264 | 1.3 | ACT18506 | 115 | 25 | he | 12.5
2018-10-30 | acton | u14 | dg | 2.46 | 0.75 | ACT18505 | 115 | 25 | he | 13
2018-10-30 | acton | u12 | dg | 22.96 | 7 | ACT18513 | 115 | 25 | he | 13
2018-10-30 | acton | u12 | dg | 19.68 | 6 | ACT18514 | 115 | 25 | he | 13
2018-10-30 | acton | u12 | dg | 13.12 | 4 | ACT18515 | 115 | 25 | he | 13
2018-10-30 | acton | u12 | dg | 6.56 | 2 | ACT18516 | 115 | 25 | he | 14
2018-11-15 | acton | u14 | dg | 0.328 | 0.1 | ACT18413 | 115 | 25 | he | 3.5
2018-11-15 | acton | u14 | dg | 0.328 | 0.1 | ACT18450 | 115 | 25 | he | 4.5
2018-11-15 | acton | u14 | dg | 0.328 | 0.1 | ACT18396 | 115 | 25 | he | 4
2018-11-15 | acton | u12 | dg | 0.328 | 0.1 | ACT18367 | 115 | 25 | he | 6
2018-11-15 | acton | u12 | dg | 0.328 | 0.1 | ACT18451 | 115 | 25 | he | 5.5
2018-11-15 | acton | u12 | dg | 0.328 | 0.1 | ACT18388 | 115 | 25 | he | 5
2018-11-15 | acton | u14 | air | 0 |  | ACT18434 | NA | NA | NA |  | 734.4
2018-11-15 | acton | u14 | air | 0 |  | ACT18423 | NA | NA | NA |  | 734.4
2018-11-15 | acton | u14 | air | 0 |  | ACT18443 | NA | NA | NA |  | 734.4
2018-11-15 | acton | u12 | air | 0 |  | ACT18414 | NA | NA | NA |  | 735.4
2018-11-15 | acton | u12 | air | 0 |  | ACT18400 | NA | NA | NA |  | 735.4
2018-11-15 | acton | u12 | air | 0 |  | ACT18424 | NA | NA | NA |  | 735.4
2018-11-15 | acton | u14 | dg | 4.1 | 1.25 | ACT18412 | 115 | 25 | he | 4
2018-11-15 | acton | u14 | dg | 2.46 | 0.75 | ACT18435 | 115 | 25 | he | 5
2018-11-15 | acton | u12 | dg | 22.96 | 7 | ACT18345 | 115 | 25 | he | 4
2018-11-15 | acton | u12 | dg | 19.68 | 6 | ACT18381 | 115 | 25 | he | 4
2018-11-15 | acton | u12 | dg | 13.12 | 4 | ACT18398 | 115 | 25 | he | 4.5
2018-11-15 | acton | u12 | dg | 6.56 | 2 | ACT18392 | 115 | 25 | he | 4.5
2018-11-30 | acton | u14 | dg | 0.328 | 0.1 | ACT18394 | 115 | 25 | he | 6.5
2018-11-30 | acton | u14 | dg | 0.328 | 0.1 | ACT18399 | 115 | 25 | he | 6
2018-11-30 | acton | u14 | dg | 0.328 | 0.1 | ACT18401 | 115 | 25 | he | 6
2018-11-30 | acton | u12 | dg | 0.328 | 0.1 | ACT18385 | 115 | 25 | he | 12
2018-11-30 | acton | u12 | dg | 0.328 | 0.1 | ACT18386 | 115 | 25 | he | 12.5
2018-11-30 | acton | u12 | dg | 0.328 | 0.1 | ACT18387 | 115 | 25 | he | 12
2018-11-30 | acton | u14 | air | 0 |  | ACT18404 | NA | NA | NA |  | 737.3
2018-11-30 | acton | u14 | air | 0 |  | ACT18405 | NA | NA | NA |  | 737.3
2018-11-30 | acton | u14 | air | 0 |  | ACT18406 | NA | NA | NA |  | 737.3
2018-11-30 | acton | u12 | air | 0 |  | ACT18389 | NA | NA | NA |  | 737.8
2018-11-30 | acton | u12 | air | 0 |  | ACT18390 | NA | NA | NA |  | 737.8
2018-11-30 | acton | u12 | air | 0 |  | ACT18391 | NA | NA | NA |  | 737.8
2018-11-30 | acton | u14 | dg | 4.1 | 1.25 | ACT18403 | 115 | 25 | he | 6.5
2018-11-30 | acton | u14 | dg | 2.46 | 0.75 | ACT18402 | 115 | 25 | he | 6.5
2018-11-30 | acton | u12 | dg | 22.96 | 7 | ACT18384 | 115 | 25 | he | 10
2018-11-30 | acton | u12 | dg | 19.68 | 6 | ACT18383 | 115 | 25 | he | 10
2018-11-30 | acton | u12 | dg | 13.12 | 4 | ACT18382 | 115 | 25 | he | na |  | discovered an air bubble in thermometer that was ruining the readings, samples already disposed of
2018-11-30 | acton | u12 | dg | 6.56 | 2 | ACT18379 | 115 | 25 | he | na
2018-12-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18421 | 115 | 25 | he | 5
2018-12-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18422 | 115 | 25 | he | 5
2018-12-13 | acton | u14 | dg | 0.328 | 0.1 | ACT18425 | 115 | 25 | he | 5
2018-12-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18411 | 115 | 25 | he | 7
2018-12-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18415 | 115 | 25 | he | 7
2018-12-13 | acton | u12 | dg | 0.328 | 0.1 | ACT18416 | 115 | 25 | he | 7
2018-12-13 | acton | u14 | air | 0 |  | ACT18495 | NA | NA | NA |  | 740.1
2018-12-13 | acton | u14 | air | 0 |  | ACT18496 | NA | NA | NA |  | 740.1
2018-12-13 | acton | u14 | air | 0 |  | ACT18517 | NA | NA | NA |  | 740.1
2018-12-13 | acton | u12 | air | 0 |  | ACT18417 | NA | NA | NA |  | 740.6
2018-12-13 | acton | u12 | air | 0 |  | ACT18419 | NA | NA | NA |  | 740.6
2018-12-13 | acton | u12 | air | 0 |  | ACT18420 | NA | NA | NA |  | 740.6
2018-12-13 | acton | u14 | dg | 4.264 | 1.3 | ACT18427 | 115 | 25 | he | 7
2018-12-13 | acton | u14 | dg | 2.46 | 0.75 | ACT18426 | 115 | 25 | he | 7
2018-12-13 | acton | u12 | dg | 22.96 | 7 | ACT18410 | 115 | 25 | he | 7
2018-12-13 | acton | u12 | dg | 19.68 | 6 | ACT18409 | 115 | 25 | he | 7.5
2018-12-13 | acton | u12 | dg | 13.12 | 4 | ACT18408 | 115 | 25 | he | 8
2018-12-13 | acton | u12 | dg | 6.56 | 2 | ACT18407 | 115 | 25 | he | 8
Note on D2: Beaulieu, Jake: dg or air
Note on G2: Beaulieu, Jake: Full code "PEG17107" with uppercase letters
Note on H2: Beaulieu, Jake: Water volume used in headspace equilibration. Typically 120. NA for air samples.
Note on I2: Beaulieu, Jake: Gas volume used in headspace equilibration. Typically 20. NA for air samples.
Note on J2: Beaulieu, Jake: he = helium air if he was not used
Note on K2: Beaulieu, Jake: Water temperature at end of headspace equilibration.

## 15 site survey traps
date | lake | site | lat | long | deploy date |  | retrieve date |  | volume | exe | exe | exe | note
2018-07-10 | acton | u12 | 39.5602 | 84.7371 | 2018-07-10 | 11:06 | 2018-07-11 | 10:45 | 275 | ACT18074 | ACT18075 | ACT18076
|  | u4 | 39.5576 | 84.7363 | 2018-07-10 | 11:41 | 2018-07-11 | 11:35 | 260 | ACT18083 | ACT18084 | ACT18085
|  | u8 | 39.5616 | 84.7384 | 2018-07-10 | 11:58 | 2018-07-11 | 12:10 | 545 | ACT18089 | ACT18090 | ACT18091
|  | u15 | 39.563 | 84.7435 | 2018-07-10 | 12:16 | 2018-07-11 | 12:35 | 480 | ACT18092 | ACT18093 | ACT18095
|  | u11 | 39.565 | 84.7382 | 2018-07-10 | 12:32 | 2018-07-11 | 12:50 | 68 | ACT18096 | ACT18097 | ACT18098
|  | u07 | 39.5703 | 84.7401 | 2018-07-10 | 12:45 | 2018-07-11 | 13:10 | 210 | ACT18099 | ACT18100 | ACT18101
|  | u18 | 39.5692 | 84.7426 | 2018-07-10 | 12:55 | 2018-07-11 | 13:25 | 175 | ACT18102 | ACT18103 | ACT18104
|  | u1 | 39.5714 | 84.7442 | 2018-07-10 | 13:12 | 2018-07-11 | 13:50 | 240 | ACT18105 | ACT18106 | ACT18107
|  | u13 | 39.5724 | 84.7454 | 2018-07-10 | 13:21 | 2018-07-11 | 14:05 | 250 | ACT18108 | ACT18109 | ACT18112
|  | u16 | 39.5706 | 84.7477 | 2018-07-10 | 13:32 | 2018-07-11 | 14:20 | 269 | ACT18113 | ACT18114 | ACT18115
|  | u5 | 39.5719 | 84.7507 | 2018-07-10 | 13:45 | 2018-07-11 | 14:37 | 290 | ACT18116 | ACT18117 | ACT18118
|  | u9 | 39.5738 | 84.7544 | 2018-07-10 | 14:00 | 2018-07-11 | 14:55 | 31 | ACT18119 | NA | NA | impacted by giant log
|  | u6 | 39.5762 | 84.7557 | 2018-07-10 | 14:10 | 2018-07-11 | 15:15 | 9 | NA | NA | NA | I think this is the beach site, sandy bottom
|  | u17 | 39.5771 | 84.751 | 2018-07-10 | 14:20 | 2018-07-11 | 15:30 | 285 | ACT18121 | ACT18122 | ACT18123
|  | u14 | 39.5809 | 84.7562 | 2018-07-10 | 14:32 | 2018-07-11 | 15:45 | 160 | ACT18124 | ACT18125 | ACT18126
2018-08-13 | acton | u12 | 39.5602 | 84.737 | 2018-08-13 | 10:55 | 2018-08-14 | 10:25 | 185 | ACT18238 | ACT18239 | ACT18240
|  | u4 | 39.5578 | 84.7365 | 2018-08-13 | 11:25 | 2018-08-14 | 10:40 | 165 | ACT18241 | ACT18242 | ACT18243
|  | u8 | 39.5618 | 84.7385 | 2018-08-13 | 11:46 | 2018-08-14 | 10:59 | 165 | ACT18244 | ACT18245 | ACT18246
|  | u15 | 39.5629 | 84.7433 | 2018-08-13 | 12:21 | 2018-08-14 | 11:14 | 225 | ACT18247 | ACT18248 | ACT18249
|  | u11 | 39.565 | 84.7382 | 2018-08-13 | 12:46 | 2018-08-14 | 11:25 | 60 | ACT18250 | ACT18251 | NA
|  | u07 | 39.5702 | 84.7401 | 2018-08-13 | 12:59 | 2018-08-14 | 11:40 | 150 | ACT18252 | ACT18253 | ACT18254
|  | u18 | 39.569 | 84.7426 | 2018-08-13 | 13:10 | 2018-08-14 | 12:11 | 165 | ACT18255 | ACT18256 | ACT18257
|  | u1 | 39.5713 | 84.7442 | 2018-08-13 | 13:26 | 2018-08-14 | 12:24 | 230 | ACT18258 | ACT18259 | ACT18260
|  | u13 | 39.5722 | 84.7453 | 2018-08-13 | 13:39 | 2018-08-14 | 12:31 | 300 | ACT18261 | ACT18262 | ACT18263
|  | u16 | 39.5707 | 84.748 | 2018-08-13 | 13:53 | 2018-08-14 | 12:45 | 285 | ACT18264 | ACT18265 | ACT18266
|  | u5 | 39.5717 | 84.7507 | 2018-08-13 | 14:10 | 2018-08-14 | 12:56 | 288 | ACT18267 | ACT18268 | ACT18269
|  | u9 | 39.5738 | 84.7544 | 2018-08-13 | 14:22 | 2018-08-14 | 13:09 | 17 | ACT18270 | NA | NA
|  | u6 | 39.5762 | 84.7558 | 2018-08-13 | 14:33 | 2018-08-14 | 13:18 | 6 | NA | NA | NA
|  | u17 | 39.5769 | 84.7512 | 2018-08-13 | 14:50 | 2018-08-14 | 13:28 | 440 | ACT18271 | ACT18272 | ACT18273
|  | u14 | 39.5808 | 84.7563 | 2018-08-13 | 15:26 | 2018-08-14 | 13:40 | 135 | ACT18274 | ACT18275 | ACT18276
2018-09-20 | acton | u12 | 39.5602 | 84.737 | 2018-09-19 | 11:22 | 2018-09-20 | 11:24 | 190 | ACT18334 | ACT18335 | ACT18336
|  | u4 | 39.5578 | 84.7365 | 2018-09-19 | 12:24 | 2018-09-20 | 11:47 | 105 | ACT18337 | ACT18338 | ACT18339
|  | u8 | 39.5617 | 84.7386 | 2018-09-19 | 12:33 | 2018-09-20 | 12:08 | 245 | ACT18340 | ACT18341 | ACT18343
|  | u15 | 39.563 | 84.7434 | 2018-09-19 | 12:44 | 2018-09-20 | 12:34 | 100 | ACT18342 | ACT18345 | ACT18344
|  | u11 | 39.5651 | 84.7383 | 2018-09-19 | 12:54 | 2018-09-20 | 12:50 | 40 | ACT18346 | ACT18347 | NA
|  | u07 | 39.5702 | 84.74 | 2018-09-19 | 13:07 | 2018-09-20 | 13:04 | 40 | ACT18348 | ACT18349 | NA
|  | u18 | 39.5691 | 84.7426 | 2018-09-19 | 13:17 | 2018-09-20 | 13:15 | 73 | ACT18350 | ACT18351 | ACT18352
|  | u1 | 39.5713 | 84.7442 | 2018-09-19 | 13:26 | 2018-09-20 | 13:31 | 85 | ACT18353 | ACT18354 | ACT18355
|  | u13 | 39.5723 | 84.7455 | 2018-09-19 | 13:32 | 2018-09-20 | 13:46 | 95 | ACT18356 | ACT18357 | ACT18358
|  | u16 | 39.5707 | 84.7481 | 2018-09-19 | 13:41 | 2018-09-20 | 14:05 | 75 | ACT18359 | ACT18360 | ACT18361
|  | u5 | 39.5718 | 84.7508 | 2018-09-19 | 13:49 | 2018-09-20 | 14:17 | 65 | ACT18362 | ACT18363 | ACT18364
|  | u9 | 39.5737 | 84.7544 | 2018-09-19 | 13:58 | 2018-09-20 | 14:29 | 0 | NA | NA | NA
|  | u6 | 39.5762 | 84.7557 | 2018-09-19 | 14:05 | 2018-09-20 | 14:39 | 0 | NA | NA | NA
|  | u17 | 39.577 | 84.7512 | 2018-09-19 | 14:16 | 2018-09-20 | 14:49 | 147 | ACT18365 | ACT18366 | ACT18367
|  | u14 | 39.5809 | 84.7562 | 2018-09-19 | 14:25 | 2018-09-20 | 15:04 | 32 | ACT18368 | NA | NA

## floatingChamberData
sample.date | lake | site | chm.deply.time | bubbling.observed | chamber.vol.l | chamber.vol.l | notes
2018-06-07 | Acton | u12 | 13:41 |  | 20 | 25 | wind blowing, boat moving quickly across lake
2018-06-07 | Acton | u14 | 15:24 |  | 25 | 40 | wind blowing, boat moving quickly across lake
2018-06-07 | Acton | u14 | 15:28 |  | 25 | 40 | wind blowing, boat moving quickly across lake
2018-06-15 | Acton | u12 | 13:06 | y | 35
2018-06-15 | Acton | u12 | 13:11 |  | 35
2018-06-15 | Acton | u14 | 14:28 |  | 35
2018-06-28 | Acton | u12 | 13:44 | y | 25
2018-06-28 | Acton | u12 | 13:51 | n | 25
2018-06-28 | Acton | u14 | 15:33 | y | 25
2018-06-28 | Acton | u14 | 15:42 | y | 25
2018-07-11 | Acton | u12 | 11:12 |  | 15 | 20
2018-07-11 | Acton | u12 | 11:15 |  | 15 | 20
2018-07-11 | Acton | u12 | 11:19 |  | 15 | 20
2018-07-11 | Acton | u12 | 11:25 |  | 15 | 20
2018-07-11 | Acton | u12 | 11:30 |  | 15 | 20 | track log turned on at end point
2018-07-11 | Acton | u4 | 11:58 |  | 25
2018-07-11 | Acton | u4 | 12:03 |  | 25
2018-07-11 | Acton | u8 | 12:24 |  | 15 | 20
2018-07-11 | Acton | u8 | 12:26 |  | 15 | 20
2018-07-11 | Acton | u8 | 12:30 |  | 15 | 20
2018-07-11 | Acton | u8 | 12:32 |  | 15 | 20
2018-07-11 | Acton | u15 | 12:44 |  | 15 | 20
2018-07-11 | Acton | u11 | 13:00 |  | 15 | 20
2018-07-11 | Acton | u7 | 13:20 |  | 20 | 30
2018-07-11 | Acton | u18 | 13:41 |  | 25 | 25 | being blown quickly across lake
2018-07-11 | Acton | u1 | 14:00 |  | 20 | 30 | being blown quickly across lake
2018-07-11 | Acton | u1 | 14:06 |  | 20 | 30 | being blown quickly across lake
2018-07-11 | Acton | u13 | 14:17 |  | 20 | 25 | being blown quickly across lake
2018-07-11 | Acton | u13 | 14:22 |  | 20 | 25 | being blown quickly across lake
2018-07-11 | Acton | u16 | 14:33 |  | 20 | 25 | being blown quickly across lake
2018-07-11 | Acton | u16 | 14:37 |  | 20 | 25 | being blown quickly across lake
2018-07-11 | Acton | u5 | 14:50 |  | 20 | 25
2018-07-11 | Acton | u9 | 15:04 |  | 20 | 25 | some times over emegent vegetation
2018-07-11 | Acton | u6 | 15:28 |  | 20 | 25 | we could not drift into beach so we drove out and drifted back toward sample point
2018-07-11 | Acton | u17 | 15:41 |  | 15 | 25 | had to pull to get away from sailing camp
2018-07-11 | Acton | u14 | 15:58 |  | 25 | 25
2018-07-13 | Acton | u12 | 13:01 |  | 20 | 25
2018-07-13 | Acton | u12 | 13:06 |  | 20 | 25
2018-07-13 | Acton | u12 | 13:11 |  | 20 | 25
2018-07-13 | Acton | u14 | 14:35 |  | 15 | 25
2018-07-13 | Acton | u14 | 14:41 |  | 15 | 25
2018-08-09 | Acton | u12 | 11:56 |  | 20 | 20
2018-08-09 | Acton | u14 | 13:40 | y | 20 | 22.5
2018-08-09 | Acton | u14 | 13:43 | y | 20 | 22.5
2018-08-09 | Acton | u14 | 13:45 | y | 20 | 22.5
2018-08-09 | Acton | u14 | 13:49 | y | 20 | 22.5
2018-08-09 | Acton | u14 | 13:51 | y | 20 | 22.5
2018-08-09 | Acton | u14 | 13:58 |  | 20 | 22.5
2018-08-13 | Acton | u12 | 11:15 |  | 20 | 20 | lake bubbling a lot
2018-08-13 | Acton | u12 | 11:18 |  | 20 | 20
2018-08-13 | Acton | u12 | 11:22 |  | 20 | 20
2018-08-13 | Acton | u4 | 11:36 |  | 20 | 20
2018-08-13 | Acton | u4 | 11:40 |  | 20 | 20
2018-08-13 | Acton | u4 | 11:43 |  | 20 | 20
2018-08-13 | Acton | u8 | 11:56 |  | 20 | 20
2018-08-13 | Acton | u8 | 11:58 |  | 20 | 20
2018-08-13 | Acton | u8 | 12:01 |  | 20 | 20
2018-08-13 | Acton | u15 | 12:32 |  | 25 | 20
2018-08-13 | Acton | u15 | 12:35 |  | 25 | 20
2018-08-13 | Acton | u15 | 12:36 |  | 25 | 20
2018-08-13 | Acton | u15 | 12:39 |  | 25 | 20
2018-08-13 | Acton | u11 | 12:55 |  | 20 | 20
2018-08-13 | Acton | u7 | 13:09 |  | 22 | 20
2018-08-13 | Acton | u18 | 13:21 |  | 22 | 20
2018-08-13 | Acton | u1 | 13:36 |  | 20 | 20
2018-08-13 | Acton | u1 | 13:39 |  | 20 | 20
2018-08-13 | Acton | u1 | 13:40 |  | 20 | 20
2018-08-13 | Acton | u13 | 13:49 |  | 25 | 20
2018-08-13 | Acton | u16 | 14:03 |  | 25 | 20
2018-08-13 | Acton | u16 | 14:05 |  | 25 | 20
2018-08-13 | Acton | u16 | 14:08 |  | 25 | 20
2018-08-13 | Acton | u16 | 14:10 |  | 25 | 20
2018-08-13 | Acton | u5 | 14:21 |  | 25 | 20
2018-08-13 | Acton | u9 | 14:32 |  | 25 | 25
2018-08-13 | Acton | u6 | 14:47 |  | 25 | 20
2018-08-13 | Acton | u17 | 14:59 |  | 25 | 20
2018-08-13 | Acton | u17 | 15:02 |  | 25 | 20
2018-08-13 | Acton | u17 | 15:04 |  | 25 | 20
2018-08-13 | Acton | u17 | 15:10 |  | 25 | 20
2018-08-13 | Acton | u17 | 15:14 |  | 25 | 20
2018-08-13 | Acton | u14 | 15:39 |  | 25 | 22
2018-08-28 | Acton | u12 | 11:51 | y | 20 | 25 | drifting across lake fast, had to drive back to 12 twice
2018-08-28 | Acton | u12 | 11:53 | y | 20 | 25 | close to edge of lake
2018-08-28 | Acton | u12 | 12:09 |  | 20 | 25 | restart near edge of lake
2018-08-28 | Acton | u14 | 14:19 | y | 20 | 25
2018-08-28 | Acton | u14 | 14:23 |  | 20 | 25
9/132018 | Acton | u12 | 12:57 |  | 25 | 15
9/132018 | Acton | u12 | 13:01 |  | 25 | 15
9/132018 | Acton | u12 | 13:02 |  | 25 | 15
9/132018 | Acton | u12 | 13:05 |  | 25 | 15
9/132018 | Acton | u14 | 14:24 |  | 25 | 15
2018-09-19 | Acton | u12 | 11:57 |  | 25 | 15
2018-09-19 | Acton | u12 | 11:58 |  | 25 | 15
2018-09-19 | Acton | u12 | 12:01 |  | 25 | 15
2018-09-19 | Acton | u12 | 12:04 |  | 25 | 15
2018-09-20 | Acton | u12 | 11:38 |  | 25 | 25
2018-09-20 | Acton | u12 | 11:40 |  | 25 | 25
2018-09-20 | Acton | u12 | 11:45 |  | 25 | 25 | return to site
2018-09-20 | Acton | u4 | 12:04 |  | 25 | 25
2018-09-20 | Acton | u4 | 12:06 |  | 25 | 25
2018-09-20 | Acton | u4 | 12:08 |  | 25 | 25
2018-09-20 | Acton | u4 | 12:10 |  | 25 | 25
2018-09-20 | Acton | u8 | 12:22 |  | 25 | 25
2018-09-20 | Acton | u8 | 12:24 |  | 25 | 25
2018-09-20 | Acton | u8 | 12:26 |  | 25 | 25
2018-09-20 | Acton | u8 | 12:31 |  | 25 | 25 | return to site
2018-09-20 | Acton | u8 | 12:34 |  | 25 | 25
2018-09-20 | Acton | u15 | 12:47 |  | 25 | 25
2018-09-20 | Acton | u15 | 12:51 |  | 25 | 25
2018-09-20 | Acton | u11 | 13:02 |  | 25 | 25
2018-09-20 | Acton | u11 | 13:04 |  | 25 | 25
2018-09-20 | Acton | u7 | 13:17 |  | 25 | 25 | anchored, too much wind, on protected side of boat
2018-09-20 | Acton | u18 | 13:28 |  | 25 | 20
2018-09-20 | Acton | u18 | 13:31 |  | 25 | 20
2018-09-20 | Acton | u1 | 13:46 |  | 25 | 25
2018-09-20 | Acton | u13 | 13:58 |  | 25 | 25
2018-09-20 | Acton | u13 | 14:00 |  | 25 | 25
2018-09-20 | Acton | u16 | 14:16 |  | 25 | 25
2018-09-20 | Acton | u16 | 14:18 |  | 25 | 25
2018-09-20 | Acton | u5 | 14:29 |  | 25 | 25
2018-09-20 | Acton | u9 | 14:39 |  | 25 | 25
2018-09-20 | Acton | u6 | 14:49 |  | 25 | 25
2018-09-20 | Acton | u17 | 15:03 |  | 25 | 25
2018-09-20 | Acton | u14 | 15:15 |  | 25 | 25 | LGR 15:14, Cell Phone 15:04, Computador 15:05, please consider when looking in track log
2018-10-18 | Acton | u12 | 12:40 |  | not recorded |  | adam had to adjust laser in the field, standard read accurately
2018-10-18 | Acton | u12 | 12:42 |  | not recorded
2018-10-18 | Acton | u12 | 12:48 |  | not recorded
2018-10-18 | Acton | u14 | 14:12 |  | not recorded
2018-10-30 | Acton | u12 | 12:44 | n | 50 | 40 | very windy
2018-10-30 | Acton | u14 | 14:02 | n | 50 | 25
2018-11-15 | Acton | u12 | 14:35 | n | 15 | 25 | cold, snow, ice, very light rain
2018-11-15 | Acton | u14 | 15:32 | n | 25 | 15
2018-11-30 | Acton | u12 | 13:01 | n | 25 | 15
2018-11-30 | Acton | u14 | 14:58 | n | 25 | 20
2018-12-13 | Acton | u12 | 12:25 |  | 25 | 30
2018-12-13 | Acton | u12 | 12:34 |  | 25 | 30
2018-12-13 | Acton | u14 | 14:17 |  | 25 | 30
2018-12-13 | Acton | u14 | 14:18 |  | 25 | 30
Note on E1: Beaulieu, Jake: y = yes n = no

## sonde cal
Date | Calibration Type | Sonde ID | DO (5% from 100%) | Conductivity (10% from 1.413) | Turbidity 0 (10%) | Turbidity 126 (10%) | Chlorophyll (10% from 0) | pH 7 (+/-0.1) | pH 10 (+/-0.1) | ORP (10% of 237)
2017-05-05 | Pre | STD-14 | 96 | 1.42 | 0 | 126 | 0.9 | 7 | 10 | 237
2017-05-05 | Post | STD-14 | 98.6 | 1.404 | -0.4 | 128 | 0.7 | 7.03 | 10.02 | 237.2
2018-04-10 | Pre | STD-15 | 98.4 | 1.413 | 0 | 0 | 126 | 7 | 10 | 237
2018-04-10 | Post | STD-15 | NA | NA | NA | NA | NA | NA | NA | NA
2018-05-17 | Pre | STD-12 | 97.3 | 1.413 | 0.1 | NA | -0.1 | 7 | 10 | 237.1
2018-05-17 | Post | STD-12 | NA | NA | NA | NA | NA | NA | NA | NA
2018-06-07 | Pre | STD-12 | 97.8 | 1.413 | 0.1 | 126 | 0.2 | 7.01 | 10.02 | 237.2
2018-06-07 | Post | STD-12 | 100.1 | 1.41 | 0.3 | 108.2 | -0.1 | 7.01 | 9.98 | 237.9
2018-06-15 | Pre | STD-12 | 98 | 1.413 | 0 | 0.4 | 0.4 | 7 | 10.01 | 237.1
2018-06-15 | Post | STD-12 | 97.9 | 1.432 | -0.1 | 125.8 | 0.4 | 6.97 | 10.06 | 236.3
2018-06-27 | Pre | STD-14 | 96.6 | 1.413 | 0 | 126.1 | -0.2 | 7 | 10.01 | 237
2018-06-27 | Post | STD-14 | 95.1 | 1.303 | 0.5 | 118.4 | 0.5 | 7.52 | 9.72 | 236.7
2018-06-27 | Pre | STD-12 | 97.4 | 1.413 | 0 | 126 | 0.4 | 7.01 | 10.01 | 237
2018-06-27 | Post | STD-12 | 98.7 | 1.339 | -0.1 | 124.7 | 0 | 7.34 | 9.77 | 238.2
2018-07-09 | Pre | STD-12 | 98.7 | 1.413 | 0 | 125.8 | 0.4 | 7.01 | 10.02 | 237
2018-07-09 | Post | STD-12 | 99.1 | 1.163 | -0.1 | 125.4 | -0.3 | 7.08 | 9.99 | 235.6
2018-07-24 | Pre | STD-12 | 97.3 | 1.413 | 0 | 126.1 | 0.3 | 7 | 10 | 237
2018-07-31 | Post | STD-12 | 98.7 | 1.459 | 0.1 | 125.3 | 0.4 | 7.01 | 9.91 | 233.2
2018-08-03 | Pre | STD-12 | 98.2 | 1.413 | 0 | 126.1 | 0.1 | 7 | 10 | 237
NA | Post | STD-12 | 99.8 | 1.43 | -0.1 | 126.2 | -1.4 | 7.12 | 9.97 | 231.7
2018-08-08 | Pre | STD-12 | 97.5 | 1.413 | -0.1 | 126.1 | 0 | 7 | 10 | 237
NA | Post | STD-12 | 98.2 | 1.423 | -0.2 | 125.7 | -0.6 | 6.99 | 9.98 | 233.8
2018-08-21 | Pre | STD-12 | 97.4 | 1.413 | 0 | 126 | 0.3 | 7 | 10.01 | 200
2018-08-24 | Post | STD-12 | 100.4 | 1.434 | 0 | 124.4 | 0.3 | 7.08 | 9.95 | 197.3
2018-08-24 | Pre | STD-12 | 98.2 | 1.413 | 0 | 126 | 0.3 | -7.8 | 10 | 200
2018-08-29 | Post | STD-12 | 97.9 | 1.447 | 0 | 127.2 | -0.8 | 6.89 | 10.09 | 199
2018-09-12 | Pre | STD-12 | 98.2 | 1.413 | 0 | 126 | -0.3 | 7 | 10.01 | 200
NA | Post | STD-12 | NA | NA | NA | NA | NA | NA | NA | NA
2018-09-18 | Pre | STD-12 | 97.8 | 1.413 | 0 | 126 | 0 | 7 | 10.01 | 200
2018-09-21 | Post | STD-12 | 100.1 | 1.224 | 0 | 130.4 | -1.1 | 7.14 | 9.84 | 203.1
2018-10-02 | Pre | STD-12 | 98 | 1.413 | -0.2 | 126 | 0 | 7 | 10.01 | 200
2018-10-04 | Post | STD-12 | 101.1 | 1.464 | 5.1 | 91.7 | -0.1 | 7.08 | 9.95 | 198.1
2018-10-17 | Pre | STD-12 | 98.5 | 1.413 | 0 | 126.2 | 0 | 7 | 10 | 200
2018-10-19 | Post | STD-12 | 102.6 | 1.416 | 0.2 | 124.9 | 0.1 | 6.98 | 10 | 200.3
2018-10-29 | Pre | STD-12 | 97.9 | 1.413 | 0 | 126 | -0.2 | 7.01 | 10.01 | 200
2018-11-01 | Post | STD-12 | 98.5 | 1.411 | 0 | 126.9 | -0.1 | 7.07 | 9.89 | 195.1
2018-11-14 | Pre | STD-12 | 99.1 | 1.413 | 0 | 125.9 | 0.3 | 7.01 | 10 | 200
2018-11-16 | Post | STD-12 | 98.4 | 1.248 | 0.1 | 127.7 | -0.2 | 7.06 | 9.98 | 199.5
2018-11-29 | Pre | STD-12 | 97.2 | 1.413 | 0 | 125.9 | -0.1 | 7 | 10 | 200
2018-12-03 | Post | STD-12 | 99 | 1.405 | 0 | 126.3 | 0.1 | 6.86 | 10.1 | 195.6
2018-12-12 | Pre | STD-12 | 97 | 1.414 | 0 | 126 | -0.4 | 7 | 10 | 200
2018-12-14 | Post | STD-12 | 101.1 | 1.4 | 0 | 126 | 0 | 7.08 | 9.98 | 199.9
Note on D5: Trygstad, Paul: No post calibration values taken for this deployment. PT 2.5.19
Note on D7: Trygstad, Paul: No post calibration values taken for this deployment. PT 2.5.19
Note on A19: Trygstad, Paul: This was the first date that the new forms were used, which include a separate date for Post-Deployment checks.
Note on A21: Trygstad, Paul: No date was recorded for post-deployment calibration. Furthermore, its not clear which deployment this calibration corresponds to
Note on A23: Trygstad, Paul: No post-deployment calibration date was recorded.
Note on K24: Trygstad, Paul: New standard solution with new calibration value. PT
Note on I26: Trygstad, Paul: Calibration sheet says -7.8, but I believe this value actually corresponds to mv PT 2/6/19
Note on A29: Trygstad, Paul: No post for this calibration - use initial from next cal?
Note on G33: Trygstad, Paul: Noted that turbidity probe may need changing, but not noted whether it was changed or not.

## sondeData
Lake | Site | Sample.Date | Sample.depth.ft | Sample.depth.m | Temp.C | DO.percent | DO.mg/L | sp.Cond.us/cm | pH | ORP | chl.a | Turbidity.ntu | flag.DO.percent | flag.DO.mg/L | flag.sp.Cond.us/cm | flag.pH | flag.ORP | flag.chl.a | flag.Turbidity.ntu
Acton | U12 | 2018-06-07 |  | 0.1 | 24.35 | 71.2 | 5.95 | 0.387 | 8.1 | 192.2 | 9.2 | 5.6
| U12 | 2018-06-07 |  | 1 | 24.24 | 68.8 | 5.76 | 0.387 | 8.15 | 195.8 | 9.1 | 6.2
| U12 | 2018-06-07 |  | 2 | 24.08 | 64.3 | 5.4 | 0.387 | 8.14 | 197.6 | 11.7 | 6.5
| U12 | 2018-06-07 |  | 3 | 23.78 | 63.6 | 5.38 | 0.385 | 8.13 | 198.6 | 8.7 | 4.5
| U12 | 2018-06-07 |  | 4 | 23.04 | 43.7 | 3.75 | 0.404 | 8 | 203.4 | 8 | 11.4
| U12 | 2018-06-07 |  | 5 | 17.99 | 3.4 | 0.32 | 0.417 | 7.62 | 216.2 | 13.7 | 10.3
| U12 | 2018-06-07 |  | 6 | 14.19 | 2.3 | 0.23 | 0.427 | 7.45 | 216.7 | 9.5 | 6.2
| U12 | 2018-06-07 |  | 7 | 12.36 | 2 | 0.21 | 0.433 | 7.39 | 203.5 | 7.6 | 6.8
| U12 | 2018-06-07 |  | 8 | 11.59 |  |  | 0.456 | 7.32
| U14 | 2018-06-07 |  | 0.1 | 25.98 | 115 | 9.35 | 0.402 | 8.56 | 198.3 | 10.3 | 12.6
| U14 | 2018-06-07 |  | 1 | 25.74 | 112.9 | 9.18 | 0.404 | 8.56 | 201.8 | 12.8 | 16.9
Acton | U12 | 2018-06-15 |  | 0.1 | 27.17 | 231.9 | 19.88 | 0.345 | 9.05 | 149.2 | 18.7 | 4.8
| U12 | 2018-06-15 |  | 1 | 26.25 | 258 | 20.73 | 0.348 | 9.05 | 151 | 43.2 | 6.8
| U12 | 2018-06-15 |  | 2 | 24.92 | 127.9 | 10.56 | 0.39 | 8.63 | 163 | 33.7 | 8.2
| U12 | 2018-06-15 |  | 3 | 24.3 | 14.6 | 1.2 | 0.411 | 8.16 | 179.5 | 21.8 | 8.3
| U12 | 2018-06-15 |  | 4 | 23.11 | 5.5 | 0.46 | 0.415 | 7.8 | 158.1 | 12.7 | 11.6
| U12 | 2018-06-15 |  | 5 | 20.02 | 4.8 | 0.42 | 0.426 | 7.71 | 100.2 | 10.6 | 14.7
| U12 | 2018-06-15 |  | 6 | 15.4 | 2.5 | 0.24 | 0.451 | 7.37 | -73.1 | 13.2 | 21.2
| U12 | 2018-06-15 |  | 7 | 12.64 | 1.8 | 0.19 | 0.463 | 7.31 | -92.1 | 12 | 10.5
| U12 | 2018-06-15 |  | 7.9 | 12.35 | 1.7 | 0.17 | 0.473 | 7.55 | -129.2 | 14.2 | 14.7
Acton | U14 | 2018-06-15 |  | 0.1 | 27.72 | 224.3 | 17.53 | 0.38 | 9.06 | 144.6 | 39.5 | 14.4
| U14 | 2018-06-15 |  | 1 | 26.62 | 241.2 | 19.53 | 0.365 | 9.08 | 147.7 | 46.1 | 13.4
Acton | U12 | 2018-06-28 |  | 0.1 | 27.13 | 158.7 |  | 0.354 | 8.95 | 145 | 15.9 | 4.9
| U12 | 2018-06-28 |  | 1 | 26.34 | 175.4 |  | 0.351 | 9.05 | 143.3 | 43.7 | 6.1
| U12 | 2018-06-28 |  | 2 | 25.58 | 182.1 |  | 0.354 | 8.95 | 147.3 | 30.8 | 6.4
| U12 | 2018-06-28 |  | 3 | 25.26 | 106.4 |  | 0.364 | 8.66 | 157.2 | 23.4 | 6.3
| U12 | 2018-06-28 |  | 4 | 23.63 | 18.7 |  | 0.393 | 8.18 | 180 | 13.8 | 11.7
| U12 | 2018-06-28 |  | 5 | 19.88 | 4.4 |  | 0.422 | 7.55 | -129 | 9.1 | 8.8
| U12 | 2018-06-28 |  | 6 | 16 | 2.6 |  | 0.448 | 7.31 | -135.4 | 13.1 | 11.5
| U12 | 2018-06-28 |  | 7 | 13.85 | 2.4 |  | 0.455 | 7.24 | -148.9 | 16.4 | 9.1
| U12 | 2018-06-28 |  | 7.3 | 13.44 | 1.6 |  | 0.463 | 7.14 | -174.2 | 17.4 | 9
| U12 | 2018-06-28 |  | 7.6 | 13.01 | 1.7 |  | 0.468 | 7.12 | -180.8 | 16.1 | 8.1
| U12 | 2018-06-28 |  | 7.9 | 12.83 | 1.3 |  | 0.476 | 7.09 | -183.7 | 17.1 | 8.4
Acton | U14 | 2018-06-28 |  | 0.1 | 28.25 | 171.5 |  | 0.37 | 8.88 | 31.3 | 18.9 | 17.1
| U14 | 2018-06-28 |  | 1 | 25.01 | 145.2 |  | 0.364 | 8.78 | 56.4 | 29.5 | 14.1
Acton | U12 | 2018-07-13 |  | 0.1 | 29.51 | 155.7 | 11.83 | 0.325 | 8.96 | 150.8 | 9.7 | 4.7
| U12 | 2018-07-13 |  | 1 | 29.51 | 136.7 | 10.65 | 0.328 | 8.95 | 154 | 23.2 | 5.8
| U12 | 2018-07-13 |  | 2 | 28.17 | 65.9 | 5.08 | 0.341 | 8.57 | 171.3 | 31 | 5.8
| U12 | 2018-07-13 |  | 3 | 26.9 | 6.1 | 0.5 | 0.365 | 8.35 | 66.9 | 29.7 | 6.7
| U12 | 2018-07-13 |  | 4 | 23.69 | 3.7 | 0.31 | 0.406 | 8.37 | -94.5 | 13.5 | 5.6
| U12 | 2018-07-13 |  | 5 | 21.3 | 2.7 | 0.24 | 0.434 | 8.38 | -116.8 | 8.3 | 6.5
| U12 | 2018-07-13 |  | 6 | 16.78 | 11.2 | 1.09 | 0.47 | 8.31 | -109.6 | 11.2 | 6.9
| U12 | 2018-07-13 |  | 7 | 14.88 | 2.1 | 0.22 | 0.48 | 8.31 | -114.9 | 11.6 | 6.4
| U12 | 2018-07-13 |  | 7.9 | 13.66 | 1.5 | 0.16 | 0.506 | 8.17 | -110.4 | 13.8 | 6.4
Acton | U14 | 2018-07-13 |  | 0.1 | 30.61 | 177.7 | 13.88 | 0.332 | 9.14 | 97.8 | 21.4 | 18.7
| U14 | 2018-07-13 |  | 1 | 28.76 | 156.1 | 12.24 | 0.333 | 9.01 | 106 | 32.4 | 24.4
| U14 | 2018-07-13 |  | 1.4 | 28.23 | 125.2 | 9.76 | 0.338 | 8.78 | 116.4 | 33.8 | 30.9
Acton | U12 | 2018-07-25 |  | 0.1 | 26.6 | 166.8 | 13.47 | 0.354 | 8.95 | 162.3 | 25.2 | 5
| U12 | 2018-07-25 |  | 1 | 26.24 | 157.8 | 12.85 | 0.355 | 8.96 | 158.2 | 35.5 | 5.6
| U12 | 2018-07-25 |  | 2 | 25.97 | 146.9 | 11.92 | 0.357 | 8.91 | 159.6 | 28.2 | 5.2
| U12 | 2018-07-25 |  | 3 | 25.84 | 143.1 | 11.63 | 0.357 | 8.88 | 160.5 | 28.9 | 4.9
| U12 | 2018-07-25 |  | 4 | 25.27 | 15.1 | 1.26 | 0.37 | 8.03 | 197.1 | 18.8 | 4.7
| U12 | 2018-07-25 |  | 5 | 22.6 | 3.5 | 0.3 | 0.416 | 8.76 | -119.2 | 11.7 | 11.5
| U12 | 2018-07-25 |  | 6 | 20.69 | 3.6 | 0.32 | 0.461 | 8.66 | -117.3 | 11.7 | 11.3
| U12 | 2018-07-25 |  | 7 | 15.41 | 1.9 | 0.19 | 0.513 | 7.38 | -154.5 | 10.4 | 7.8
| U12 | 2018-07-25 |  | 7.9 | 13.95 | 1.5 | 0.17 | 0.543 | 7.27 | -156.9 | 15.7 | 10
Acton | U14 | 2018-07-25 |  | 0.1 | 26.74 | 113.9 | 9.1 | 0.382 | 8.3 | 63.5 | 20.2 | 25.5
| U14 | 2018-07-25 |  | 1 | 25.92 | 118.8 | 9.65 | 0.369 | 8.43 | 70.3 | 28.2 | 21.2
Acton | U12 | 2018-08-09 |  | 0.1 | 28.74 | 125.7 | 9.75 | 0.342 | 8.95 | 106.3 | 8.5 | 3.2
| U12 | 2018-08-09 |  | 1 | 28.34 | 122.7 | 9.63 | 0.342 | 8.98 | 105.2 | 11.9 | 7.7
| U12 | 2018-08-09 |  | 2 | 28.04 | 91 | 7.17 | 0.346 | 8.86 | 108.3 | 14.5 | 4
| U12 | 2018-08-09 |  | 3 | 26.92 | 28.4 | 2.26 | 0.359 | 8.41 | 130.1 | 14.1 | 4.4
| U12 | 2018-08-09 |  | 4 | 25.17 | 4.2 | 0.34 | 0.37 | 8.48 | -64.6 | 11.7 | 9.7
| U12 | 2018-08-09 |  | 5 | 23.14 | 3.4 | 0.29 | 0.403 | 8.37 | -125.3 | 11.3 | 18.5
| U12 | 2018-08-09 |  | 6 | 18.22 | 2.4 | 0.23 | 0.493 | 8.28 | -108.4 | 11 | 12.9
| U12 | 2018-08-09 |  | 7 | 15.84 | 1.9 | 0.19 | 0.525 | 7.84 | -96.1 | 20.3 | 17.3
Acton | U14 | 2018-08-09 |  | 0.1 | 30 | 115.6 | 8.82 | 0.371 | 8.43 | 63.8 | 14.6 | 22.1
| U14 | 2018-08-09 |  | 1 | 27.13 | 46.6 | 3.69 | 0.359 | 8.26 | 76.8 | 18.5 | 56.4
Acton | U12 | 2018-08-28 |  | 0.1 | 26.71 | 145.9 | 11.7 | 0.35 | 8.66 | 133.2 | 26.9 | 5.7
| U12 | 2018-08-28 |  | 1 | 26.3 | 121.9 | 10.01 | 0.353 | 8.61 | 133.5 | 26.3 | 5.7
| U12 | 2018-08-28 |  | 2 | 25.96 | 114.7 | 9.31 | 0.356 | 8.5 | 137.4 | 23.2 | 6.8
| U12 | 2018-08-28 |  | 3 | 24.82 | 25.3 | 2.15 | 0.362 | 8.07 | 154.8 | 17.3 | 6.3
| U12 | 2018-08-28 |  | 4 | 24.51 | 7.4 | 0.62 | 0.365 | 7.76 | 147.4 | 14.2 | 7.6
| U12 | 2018-08-28 |  | 5 | 23.21 | 3.6 | 0.32 | 0.396 | 8.06 | -69 | 15.2 | 11.9
| U12 | 2018-08-28 |  | 6 | 20.21 | 3 | 0.28 | 0.485 | 7.94 | -78.3 | 16.1 | 18.1
| U12 | 2018-08-28 |  | 7 | 16.98 | 2.6 | 0.25 | 0.533 | 7.85 | -79.6 | 19.3 | 19.5
| U12 | 2018-08-28 |  | 7.75 | 15.44 | 2 | 0.21 | 0.573 | 7.54 | -90.2 | 47.2 | 78.6
Acton | U14 | 2018-08-28 |  | 0.1 | 28.71 | 153.2 | 11.84 | 0.351 | 8.86 | 49.3 | 23.6 | 19.5
| U14 | 2018-08-28 |  | 1 | 27.9 | 127 | 9.93 | 0.35 | 8.78 | 58.1 | 32.3 | 35.3
| U14 | 2018-08-28 |  | 1.3 | 27.86 | 136.8 | 10.72 | 0.351 | 8.7 | 65.3 | 31.4 | 50
Acton | U12 | 2018-09-13 |  | 0.1 | 23.06 | 175.3 | 14.95 | 0.315 | 8.64 | 118.2 | 28.7 | 6.5
| U12 | 2018-09-13 |  | 1 | 21.51 | 135.5 | 11.94 | 0.321 | 8.5 | 112.3 | 26.2 | 8.1
| U12 | 2018-09-13 |  | 2 | 21.39 | 107.5 | 9.55 | 0.322 | 8.37 | 113.2 | 21.2 | 8.5
| U12 | 2018-09-13 |  | 3 | 20.03 | 12.5 | 1.2 | 0.346 | 7.87 | 132.4 | 13.1 | 31.8
| U12 | 2018-09-13 |  | 4 | 19.32 | 5.8 | 0.53 | 0.316 | 7.73 | 133.5 | 14.1 | 41.3
| U12 | 2018-09-13 |  | 5 | 18.99 | 4.9 | 0.45 | 0.305 | 7.61 | 130.4 | 12.4 | 34.5
| U12 | 2018-09-13 |  | 6 | 18.66 | 8.6 | 0.81 | 0.319 | 7.54 | 129.4 | 13.6 | 43.7
| U12 | 2018-09-13 |  | 7 | 18.15 | 4.1 | 0.44 | 0.446 | 7.29 | -77.2 | 24.3 | 41.7
| U12 | 2018-09-13 |  | 8 | 16.6 | 2.1 | 0.26 | 0.539 | 7.16 | -96.9 | 49 | 72.7
Acton | U14 | 2018-09-13 |  | 0.1 | 23.88 | 162.8 | 13.74 | 0.335 | 8.57 | 66.1 | 24.3 | 11.4
| U14 | 2018-09-13 |  | 1 | 21.32 | 104.4 | 9.74 | 0.343 | 8.38 | 74.5 | 27.9 | 26.6
| U14 | 2018-09-13 |  | 1.3 | 20.13 | 96.5 | 8.75 | 0.414 | 8.22 | 77.9 | 16.1 | 37.6
Acton | U12 | 2018-10-03 |  | 0.1 | 22.3 | 181.6 | 15.72 | 15.72 | 8.61 | 145.1 | 62.7 | 4
| U12 | 2018-10-03 |  | 1 | 21.74 | 152.2 | 13.22 | 13.22 | 8.61 | 148 | 43.1 | 3.3
| U12 | 2018-10-03 |  | 2 | 20.02 | 62.3 | 5.64 | 5.64 | 8.21 | 163.9 | 19.8 | 3.3
| U12 | 2018-10-03 |  | 3 | 19.63 | 13.4 | 3.53 | 3.53 | 7.99 | 170.8 | 13.5 | 4.2
| U12 | 2018-10-03 |  | 4 | 19.45 | 16.3 | 1.51 | 1.51 | 7.81 | 174.8 | 10.3 | 4.8
| U12 | 2018-10-03 |  | 5 | 19.18 | 17.1 | 5.2 | 0.47 | 7.72 | 173.6 | 11.6 | 7.4
| U12 | 2018-10-03 |  | 6 | 18.7 | 0.35 | 3.7 | 3.7 | 7.65 | 166.1 | 10.5 | 14.6
| U12 | 2018-10-03 |  | 7 | 18.1 | 0.31 | 3.3 | 3.3 | 7.55 | 109.1 | 14.7 | 25.7
| U12 | 2018-10-03 |  | 8 | 17.05 | 0.28 | 2.9 | 2.9 | 7.09 | -125.9 | 31.9 | 40.7
Acton | U14 | 2018-10-03 |  | 0.1 | 22.78 | 15.27 | 175.3 | 15.72 | 8.54 | 62 | 54.2 | 8
| U14 | 2018-10-03 |  | 1 | 22.64 | 14.91 | 171.9 | 14.91 | 8.65 | 67.8 | 51.4 | 10.1
Acton | U12 | 2018-10-18 |  | 0.1 | 16.08 | 75.6 | 7.43 | 0.398 | 7.42 | 184 | 15.2 | 12
| U12 | 2018-10-18 |  | 1 | 15.87 | 70.6 | 7.02 | 0.398 | 7.55 | 183.1 | 17.6 | 13.6
| U12 | 2018-10-18 |  | 2 | 15.79 | 65.6 | 6.53 | 0.398 | 7.62 | 183 | 15.7 | 13.8
| U12 | 2018-10-18 |  | 3 | 15.77 | 65.1 | 6.46 | 0.398 | 7.66 | 182.8 | 16.5 | 13.7
| U12 | 2018-10-18 |  | 4 | 15.76 | 65.2 | 6.46 | 0.398 | 7.68 | 182.7 | 18.1 | 14.7
| U12 | 2018-10-18 |  | 5 | 15.75 | 65.1 | 6.47 | 0.398 | 7.71 | 182.2 | 16.7 | 14.6
| U12 | 2018-10-18 |  | 6 | 15.74 | 64.2 | 6.41 | 0.397 | 7.73 | 182.1 | 15.9 | 16
| U12 | 2018-10-18 |  | 7 | 15.72 | 64.3 | 6.4 | 0.397 | 7.75 | 181.8 | 16 | 15.5
| U12 | 2018-10-18 |  | 7.9 | 15.72 | 61.6 | 6.11 | 0.398 | 7.76 | 153 | 20.7 | 63.1
Acton | U14 | 2018-10-18 |  | 0.1 | 15.66 | 89.1 | 8.83 | 0.402 | 8.02 | 118.8 | 9 | 16.2
| U14 | 2018-10-18 |  | 1 | 15.58 | 86.2 | 8.8 | 0.412 | 8 | 124 | 14.9 | 16.9
Acton | U12 | 2018-10-30 |  | 0.1 | 11.85 | 98.7 | 10.72 | 0.385 | 7.65 | 226.3 | 42.6 | 13.1
| U12 | 2018-10-30 |  | 1 | 11.81 | 97.3 | 10.51 | 0.385 | 7.74 | 225.7 | 38.2 | 13.5
| U12 | 2018-10-30 |  | 2 | 11.8 | 96.8 | 10.45 | 0.385 | 7.83 | 224.6 | 37.3 | 13.3
| U12 | 2018-10-30 |  | 3 | 11.72 | 95.5 | 10.35 | 0.386 | 7.88 | 223.9 | 37.9 | 13.6
| U12 | 2018-10-30 |  | 4 | 11.7 | 94.8 | 10.27 | 0.386 | 7.92 | 223.2 | 39.6 | 12.9
| U12 | 2018-10-30 |  | 5 | 11.7 | 94.3 | 10.23 | 0.386 | 7.96 | 222.3 | 38 | 13.3
| U12 | 2018-10-30 |  | 6 | 11.68 | 94.3 | 10.21 | 0.386 | 8.01 | 221.2 | 38.2 | 13.2
| U12 | 2018-10-30 |  | 7 | 11.66 | 92.1 | 10 | 0.386 | 8.03 | 220.7 | 33.9 | 12.9
| U12 | 2018-10-30 |  | 7.8 | 11.69 | 90 | 9.76 | 0.387 | 8.04 | 168.2 | 35.6 | 32.4
Acton | U14 | 2018-10-30 |  | 0.1 | 11.15 | 100 | 10.98 | 0.393 | 8.15 | 207.9 | 24.9 | 12.7
| U14 | 2018-10-30 |  | 1 | 11.14 | 100.4 | 11.03 | 0.393 | 8.15 | 208.4 | 28 | 13
| U14 | 2018-10-30 |  | 1.5 | 11.15 | 100.6 | 11.04 | 0.393 | 8.17 | 207.1 | 29.3 | 19.3
Acton | U12 | 2018-11-15 |  | 0.1 | 6.55 | 79.7 | 9.75 | 0.402 | 7.41 | 228.9 | 13.1 | 13.6
| U12 | 2018-11-15 |  | 1 | 6.54 | 78.9 | 9.68 | 0.402 | 7.5 | 226.8 | 12.4 | 13.4
| U12 | 2018-11-15 |  | 2 | 6.52 | 78.3 | 9.6 | 0.402 | 7.57 | 225.6 | 12.9 | 13.4
| U12 | 2018-11-15 |  | 3 | 6.5 | 77.6 | 9.57 | 0.402 | 7.63 | 223.9 | 13 | 13.7
| U12 | 2018-11-15 |  | 4 | 6.44 | 78 | 9.57 | 0.402 | 7.64 | 222.8 | 13.9 | 13.8
| U12 | 2018-11-15 |  | 5 | 6.48 | 77.9 | 9.58 | 0.402 | 7.73 | 221.4 | 12.4 | 14.1
| U12 | 2018-11-15 |  | 6 | 6.48 | 77.6 | 9.52 | 0.402 | 7.77 | 220.4 | 13 | 13.9
| U12 | 2018-11-15 |  | 7 | 6.45 | 77.8 | 9.56 | 0.403 | 7.8 | 219.3 | 11.2 | 14.3
| U12 | 2018-11-15 |  | 8 | 6.42 | 73 | 8.98 | 0.44 | 7.79 | 218 | 14 | 35.8 | [6 empty] | hit bottom
Acton | U14 | 2018-11-15 |  | 0.1 | 4.98 | 84.7 | 10.85 | 0.424 | 7.91 | 154 | 12 | 11.3 |  |  | ice storm the night before
| U14 | 2018-11-15 |  | 1 | 4.96 | 83.8 | 10.72 | 0.425 | 7.96 | 150.2 | 11.4 | 10.9
| U14 | 2018-11-15 |  | 1.2 | 4.29 | 85.1 | 10.96 | 0.48 | 7.98 | 144.7 | 6.9 | 9.3
Acton | U12 | 2018-11-30 |  | 0.1 | 4.82 | 91.9 | 11.71 | 0.491 | 7 | 116.5 | 18 | 9.9
| U12 | 2018-11-30 |  | 1 | 4.2 | 91.4 | 11.87 | 0.49 | 7.13 | 120.3 | 20.4 | 10.3
| U12 | 2018-11-30 |  | 2 | 4.11 | 90.1 | 11.78 | 0.49 | 7.14 | 116.1 | 13.2 | 10.3
| U12 | 2018-11-30 |  | 3 | 4.05 | 89.5 | 11.75 | 0.49 | 7.23 | 113.6 | 14.9 | 10.6
| U12 | 2018-11-30 |  | 4 | 4.01 | 88.1 | 11.53 | 0.491 | 7.38 | 114.2 | 14.1 | 10.7
| U12 | 2018-11-30 |  | 5 | 3.97 | 88.1 | 11.54 | 0.492 | 7.47 | 114.5 | 14.4 | 10.8
| U12 | 2018-11-30 |  | 6 | 3.91 | 88.8 | 11.64 | 0.492 | 7.53 | 112.7 | 13.2 | 10.8
| U12 | 2018-11-30 |  | 7 | 3.89 | 88.6 | 11.63 | 0.493 | 7.59 | 113.1 | 12.3 | 10.3
| U12 | 2018-11-30 |  | 7.9 | 3.9 | 86.7 | 11.4 | 0.499 | 7.63 | 112.7 | 13.2 | 12
Acton | U14 | 2018-11-30 |  | 0.1 | 4.63 | 97.4 | 12.49 | 0.503 | 7.98 | 109 | 9 | 8
| U14 | 2018-11-30 |  | 1 | 4.56 | 96.5 | 12.51 | 0.502 | 7.99 | 107.1 | 2.8 | 4
| U14 | 2018-11-30 |  | 1.2 | 3.86 | 95.3 | 12.56 | 0.586 | 8.04 | 104 | 2.3 | 2.5
Acton | U12 | 2018-12-13 |  | 0.1 | 3.2 | 87.5 | 11.69 | 0.486 | 7.01 | 116.5 | 10.5 | 16.6
| U12 | 2018-12-13 |  | 1 | 3.13 | 88.6 | 11.85 | 0.486 | 7.23 | 117 | 13.5 | 16.7
| U12 | 2018-12-13 |  | 2 | 3.11 | 88.1 | 11.87 | 0.469 | 7.3 | 116.2 | 12.9 | 17.2
| U12 | 2018-12-13 |  | 3 | 3.1 | 87.6 | 11.75 | 0.473 | 7.4 | 115.2 | 11.9 | 16.9
| U12 | 2018-12-13 |  | 4 | 3.11 | 87.4 | 11.65 | 0.473 | 7.51 | 114.5 | 11.7 | 16.7
| U12 | 2018-12-13 |  | 5 | 3.22 | 86.7 | 11.63 | 0.474 | 7.58 | 114.1 | 10.7 | 15.9
| U12 | 2018-12-13 |  | 6 | 3.27 | 86.5 | 11.56 | 0.475 | 7.64 | 112.6 | 10.8 | 16.1
| U12 | 2018-12-13 |  | 7 | 3.3 | 86 | 11.5 | 0.477 | 7.69 | 113.5 | 9.4 | 15.4
| U12 | 2018-12-13 |  | 8 | 3.38 | 84 | 11.14 | 0.489 | 7.72 | 109.9 | 8.9 | 15 | [6 empty] | hit bottom
Acton | U14 | 2018-12-13 |  | 0.1 | 2.94 | 95.8 | 12.88 | 0.525 | 8.14 | 106.2 | 4.1 | 9.3 |  |  | ice storm the night before
| U14 | 2018-12-13 |  | 1 | 2.79 | 95.3 | 12.85 | 0.537 | 8.15 | 107.4 | 5.5 | 8.4
Acton | u12 | 2018-07-10 |  | 0.1 | 29.58 | 219.7 | 16.66 | 0.314 | 9.15 | 116.8 | 27.1 | 6.2
| u12 | 2018-07-10 |  | 1 | 29.5 | 220.9 | 16.81 | 0.314 | 9.19 | 114.8 | 32.5 | 6.8
| u12 | 2018-07-10 |  | 2 | 28.88 | 174.5 | 13.4 | 0.321 | 9 | 122.2 | 33.4 | 7
| u12 | 2018-07-10 |  | 3 | 26.85 | 34.2 | 2.78 | 0.361 | 8.38 | 151.1 | 25.3 | 5.1
| u12 | 2018-07-10 |  | 4 | 25.52 | 5.8 | 0.46 | 0.385 | 8.37 | -11 | 21.9 | 4.5
| u12 | 2018-07-10 |  | 5 | 19.57 | 2.6 | 0.24 | 0.438 | 8.37 | -149.5 | 7.2 | 5.8
| u12 | 2018-07-10 |  | 6 | 16.81 | 2.4 | 0.23 | 0.46 | 7.81 | -152.3 | 10.4 | 7.11
| u12 | 2018-07-10 |  | 7 | 15.29 | 2 | 0.2 | 0.471 | 7.47 | -166.7 | 13.2 | 7.4
| u4 | 2018-07-10 |  | 0.1 | 29.84 | 231.3 | 17.59 | 0.312 | 9.24 | 60.5 | 19.1 | 5.9
| u8 | 2018-07-10 |  | 0.1 | 29.9 | 228.5 | 17.3 | 0.314 | 9.19 | 115.5 | 19.8 | 6.2
| u15 | 2018-07-10 |  | 0.1 | 29.77 | 233 | 17.56 | 0.316 | 9.19 | 122.4 | 23.7 | 6.9
| u11 | 2018-07-10 |  | 0.1 | 30.42 | 227.8 | 17.16 | 0.315 | 9.19 | 103 | 19.2 | 6.4
| u07 | 2018-07-10 |  | 0.1 | 30.31 | 214.9 | 16.15 | 0.316 | 9.17 | 97.2 | 18.6 | 7.2
| u18 | 2018-07-10 |  | 0.1 | 29.66 | 221.6 | 16.7 | 0.319 | 9.16 | 104.6 | 26.9 | 7.3
| u1 | 2018-07-10 |  | 0.1 | 30.05 | 222.9 | 16.78 | 0.318 | 9.14 | 111.4 | 16.5 | 6.8
| u13 | 2018-07-10 |  | 0.1 | 30.1 | 221.2 | 16.68 | 0.318 | 9.15 | 101.3 | 16.1 | 6.8
| u16 | 2018-07-10 |  | 0.1 | 29.98 | 220.5 | 16.69 | 0.325 | 9.14 | 105.2 | 19.6 | 8.9
| u5 | 2018-07-10 |  | 0.1 | 30.3 | 219.2 | 16.47 | 0.325 | 9.1 | 101.5 | 12.7 | 9.8
| u9 | 2018-07-10 |  | 0.1 | 30.28 | 195.6 | 14.58 | 0.328 | 9.02 | 118.8 | 18.9 | 19.2
| u6 | 2018-07-10 |  | 0.1 | 30.56 | 199.8 | 14.94 | 0.328 | 9.1 | 109.3 | 20 | 19.1
| u17 | 2018-07-10 |  | 0.1 | 30.41 | 215.4 | 16.19 | 0.323 | 9.13 | 102 | 14.3 | 9
| u14 | 2018-07-10 |  | 0.1 | 29.96 | 210.7 | 15.83 | 0.327 | 9.1 | 96.8 | 18.6 | 13
| u14 | 2018-07-10 |  | 1 | 28.33 | 160.7 | 12.52 | 0.334 | 8.86 | 110.7 | 40.6 | 50.6
Acton | u12 | 2018-08-13 |  | 0.1 | 27.71 | 89.9 | 7.04 | 0.353 | 8.57 | 167 | 12.8 | 4.1
| u12 | 2018-08-13 |  | 1 | 27.28 | 90.9 | 7.2 | 0.352 | 8.65 | 162 | 14.2 | 4.7
| u12 | 2018-08-13 |  | 2 | 27.21 | 74.6 | 6 | 0.355 | 8.62 | 163.7 | 13.6 | 4.8
| u12 | 2018-08-13 |  | 3 | 27.09 | 70.4 | 5.59 | 0.358 | 8.5 | 171.1 | 14.1 | 5.7
| u12 | 2018-08-13 |  | 4 | 25.67 | 5 | 0.41 | 0.369 | 8.73 | -56.8 | 12.2 | 6.3
| u12 | 2018-08-13 |  | 5 | 21.81 | 3.2 | 0.28 | 0.435 | 8.57 | -109.8 | 9.1 | 12.3
| u12 | 2018-08-13 |  | 6 | 19.33 | 2.6 | 0.24 | 0.484 | 8.15 | -88.9 | 11 | 14.3
| u12 | 2018-08-13 |  | 7 | 16.3 | 2.2 | 0.21 | 0.528 | 7.95 | -86.1 | 18.9 | 171.7
| u12 | 2018-08-13 |  | 7.75 | 15.06 | 1.8 | 0.18 | 0.551 | 7.81 | -85.5 | 31.4 | 25.2
| u4 | 2018-08-13 |  | 0.1 | 28.02 | 99.1 | 7.72 | 0.352 | 8.84 | 36.7 | 9.4 | 3.8
| u8 | 2018-08-13 |  | 0.1 | 28.4 | 110.3 | 8.55 | 0.353 | 8.86 | 50.1 | 10.4 | 4.3
| u15 | 2018-08-13 |  | 0.1 | 28.84 | 116.7 | 8.94 | 0.351 | 8.89 | 61.8 | 8.3 | 4
| u11 | 2018-08-13 |  | 0.1 | 28.94 | 106.2 | 8.09 | 0.352 | 8.83 | 71.3 | 8.4 | 4.8
| u07 | 2018-08-13 |  | 0.1 | 28.89 | 112.8 | 8.72 | 0.351 | 8.87 | 71.4 | 10.5 | 4.3
| u18 | 2018-08-13 |  | 0.1 | 28.82 | 127.2 | 9.85 | 0.35 | 8.93 | 69.9 | 13.9 | 4.5
| u1 | 2018-08-13 |  | 0.1 | 28.55 | 131.7 | 10.19 | 0.348 | 8.96 | 70.2 | 12.4 | 5
| u13 | 2018-08-13 |  | 0.1 | 28.73 | 130 | 10.03 | 0.349 | 8.95 | 72 | 8.5 | 5.2
| u16 | 2018-08-13 |  | 0.1 | 28.6 | 132.9 | 10.19 | 0.354 | 8.88 | 75.9 | 15.5 | 10.4
| u5 | 2018-08-13 |  | 0.1 | 29.44 | 129.1 | 9.81 | 0.354 | 8.92 | 73.4 | 10.3 | 8.9
| u9 | 2018-08-13 |  | 0.1 | 30.79 | 155 | 11.56 | 0.353 | 9.02 | 67.9 | 10.8 | 14.5
| u6 | 2018-08-13 |  | 0.1 | 29.74 | 143.8 | 10.9 | 0.35 | 8.98 | 72.9 | 8.9 | 7
| u17 | 2018-08-13 |  | 0.1 | 28.64 | 133.6 | 10.29 | 0.35 | 8.89 | 76.1 | 10.5 | 7.2
| u14 | 2018-08-13 |  | 0.1 | 29.54 | 145 | 11.05 | 0.35 | 8.96 | 69.5 | 17.5 | 18.5
| u14 | 2018-08-13 |  | 1 | 27.83 | 130.4 | 10.24 | 0.352 | 8.92 | 72.7 | 25.8 | 24.1
| u14 | 2018-08-13 |  | 1.3 | 27.17 | 79.9 | 6.36 | 0.358 | 8.73 | 81.4 | 26 | 48.4
Acton | u12 | 2018-09-19 |  | 0.1 | 25.56 | 180.2 | 14.79 | 0.313 | 9 | 113.1 | 10.4 | 6.1
| u12 | 2018-09-19 |  | 1 | 24.45 | 187.5 | 15.7 | 0.312 | 9.03 | 116.9 | 31.7 | 4.7
| u12 | 2018-09-19 |  | 2 | 23.87 | 136.6 | 11.53 | 0.322 | 8.84 | 125.9 | 20.2 | 4.1
| u12 | 2018-09-19 |  | 3 | 21.91 | 10.8 | 0.91 | 0.346 | 8.35 | 148.5 | 14.9 | 5
| u12 | 2018-09-19 |  | 4 | 19.43 | 6.3 | 0.58 | 0.334 | 7.97 | 111 | 13 | 14
| u12 | 2018-09-19 |  | 5 | 18.94 | 4.7 | 0.43 | 0.337 | 7.83 | 65.8 | 12.2 | 24
| u12 | 2018-09-19 |  | 6 | 18.65 | 4 | 0.38 | 0.355 | 7.67 | 66.5 | 14.2 | 33.1
| u12 | 2018-09-19 |  | 7 | 17.89 | 3.8 | 0.35 | 0.432 | 7.27 | -89.9 | 18.5 | 31.9
| u12 | 2018-09-19 |  | 7.9 | 17.09 | 2.7 | 0.26 | 0.509 | 7.05 | -117.1 | 34 | 37.9
| u4 | 2018-09-19 |  | 0.1 | 25.52 | 203.6 | 16.72 | 0.31 | 9.15 | 72.1 | 18.8 | 3.7
| u8 | 2018-09-19 |  | 0.1 | 26.58 | 188.3 | 15.07 | 316 | 9.07 | 84.6 | 10.5 | 2.9
| u8 | 2018-09-19 |  | 7.4 | 17.42 | 18.5 | 1.62 | 472 | 7.98 | -111.9 | 25.3 | 33.1
| u15 | 2018-09-19 |  | 0.1 | 26.05 | 205.2 | 16.61 | 318 | 9.13 | 47.8 | 17.9 | 3.8
| u15 | 2018-09-19 |  | 6 | 18.84 | 37.3 | 3.1 | 363 | 8.52 | 56 | 22.7 | 41
| u11 | 2018-09-19 |  | 0.1 | 27.09 | 187.3 | 14.89 | 317 | 9.1 | 61.6 | 10.6 | 2.8
| u11 | 2018-09-19 |  | 5 | 18.96 | 27 | 2.51 | 345 | 8.55 | 5.1 | 12.5 | 30.8
| u07 | 2018-09-19 |  | 0.1 | 26.84 | 198.9 | 15.79 | 311 | 9.13 | 65.2 | 12.7 | 2.4
| u07 | 2018-09-19 |  | 1 | 25.05 | 189.3 | 15.63 | 320 | 9.01 | 72.9 | 18 | 5
| u18 | 2018-09-19 |  | 0.1 | 26.44 | 207.5 | 16.68 | 319 | 9.16 | 75.2 | 18 | 3.9
| u18 | 2018-09-19 |  | 5 | 19.04 | 12.1 | 1.05 | 346 | 8.53 | -5.7 | 15.5 | 37.7
| u1 | 2018-09-19 |  | 0.1 | 27.39 | 206.8 | 16.37 | 323 | 9.17 | 48.4 | 12.213 | 4
| u1 | 2018-09-19 |  | 4.5 | 19.66 | 34.7 | 2.75 | 343 | 8.57 | 36 | 13.6 | 25.1
| u13 | 2018-09-19 |  | 0.1 | 26.86 | 221.3 | 17.74 | 319 | 9.19 | 36.2 | 15.6 | 4.7
| u13 | 2018-09-19 |  | 4 | 20.35 | 23.2 | 1.93 | 339 | 8.52 | 59.6 | 14.1 | 9.2
| u16 | 2018-09-19 |  | 0.1 | 26.68 | 218.7 | 17.62 | 326 | 9.18 | 64 | 15.9 | 6
| u16 | 2018-09-19 |  | 4 | 20.4 | 14.8 | 1.26 | 343 | 8.62 | 82.3 | 14.5 | 21.4
| u5 | 2018-09-19 |  | 0.1 | 27.88 | 200.6 | 15.98 | 325 | 9.14 | 69.2 | 15.9 | 5.3
| u5 | 2018-09-19 |  | 3 | 22.28 | 26.5 | 2.22 | 353 | 8.61 | 92.9 | 14.1 | 12.5
| u9 | 2018-09-19 |  | 0.1 | 26.32 | 170.2 | 13.59 | 332 | 9.01 | 85.5 | 14.5 | 10.9
| u9 | 2018-09-19 |  | 0.5 | 24.74 | 134.5 | 11.08 | 339 | 8.89 | 92.2 | 12.9 | 23.3
| u6 | 2018-09-19 |  | 0.1 | 27.72 | 196.2 | 15.49 | 331 | 9.08 | 94.8 | 16.7 | 6.5
| u6 | 2018-09-19 |  | 1.5 | 23.76 | 105.7 | 8.94 | 373 | 8.58 | 113.2 | 23.5 | 20.7
| u17 | 2018-09-19 |  | 0.1 | 27.55 | 219.1 | 7.57 | 323 | 9.17 | 102.9 | 15.1 | 5.2
| u17 | 2018-09-19 |  | 3 | 22.22 | 24.2 | 2.07 | 348 | 8.44 | 129.5 | 14.2 | 13.3
| u14 | 2018-09-19 |  | 0.1 | 27.66 | 200.5 | 15.7 | 338 | 9.07 | 105.6 | 21.6 | 8.4
| u14 | 2018-09-19 |  | 1 | 24.8 | 137.7 | 11.42 | 366 | 8.86 | 113.7 | 23.7 | 9.5
Note on N1: Balz, Adam: 1 = qa failure or issue nothing = no problem

## trapData
site.visit.date | lake | site | latitude | longitude | site.depth.ft | site.depth.m | trap.size | circuit | gas.volume.ml | exetainer.code | trap.deply.date | trap.deply.time | notes
2018-05-08 | acton | u12 | 39.5602 | 84.7372 | 27 | 8.2296 | large | 3 | na |  | 2018-05-08 | 14:00
2018-05-08 | acton | u14 | 39.5809 | -84.7562 | 4.3 | 1.3106 | large | 14 | na |  | 2018-05-08 | 14:45
2018-05-18 | acton | u12 | [10 empty] | Did we sample at this date?
2018-05-18 | acton | u14
2018-05-25 | acton | u12 | 39.5602 | 84.7372 |  |  | small | 9 | na |  | 2018-05-25 | 13:28 | deploy new traps
2018-05-25 | acton | u14 | 39.5809 | -84.7562 |  |  | small | 14 | na |  | 2018-05-25 | 14:18 | deploy new traps
2018-06-07 | acton | u12 | 39.5604 | 84.7373 | 26.2467 | 8 | large | 3 | 61 | ACT18019,ACT18020,ACT18021 |  |  | fat traps pulled
2018-06-07 | acton | u14 | 39.5602 | 84.7372 | 4.2651 | 1.3 | large | 14 | 125 | ACT18035,ACT18036,ACT18037 |  |  | fat traps pulled
2018-06-07 | acton | u12 | 39.5604 | 84.7373 | 26.2467 | 8 | small | 9 | 95 | ACT18022,ACT18023,ACT18024 | 2018-06-07 | 12:45
2018-06-07 | acton | u14 | 39.5602 | 84.7372 | 4.2651 | 1.3 | small | 11 | 75 | ACT18038,ACT18039,ACT18040 | 2018-06-07 | 15:02
2018-06-15 | acton | u12 | 39.5604 | 84.7373 | 26.2467 | 8 | small | 9 | 51 | ACT18052,ACT18053 | 2018-06-15 | 12:26
2018-06-15 | acton | u14 | 39.5808 | 84.7563 | 4.2651 | 1.3 | small | 11 | 56 | ACT18063,ACT18064 | 2018-06-15 | 14:06
2018-06-28 | acton | u12 | 39.5603 | 84.7372 | 26.1 | 7.9553 | small | 9 | 54 | ACT18010,ACT18011 | 2018-06-28 | 12:32
2018-06-28 | acton | u14 | 39.5808 | 84.7562 | 4.5 | 1.3716 | small | cannot read | 68 | ACT18002,ACT18003,ACT18004 | 2018-06-28 | 14:48
2018-07-13 | acton | u12 | 39.5604 | 84.7372 | 25.9186 | 7.9 | small | 9 | 75 | ACT18133,ACT18134,ACT18135 | 2018-07-13 | 12:02
2018-07-13 | acton | u14 | 39.5808 | 84.7562 | 4.2651 | 1.3 | small | 11 | 42 | ACT18149,ACT18150 | 2018-07-13 | 13:53
2018-07-25 | acton | u12 | 39.5603 | 84.7372 | 26.2467 | 8 | small | 9 | 40 | ACT18156,ACT18157 | 2018-07-25 | 11:32 | 157 may have low volume
2018-07-25 | acton | u14 | 39.5808 | 84.7563 | 4.2651 | 1.3 | small | 11 | 85 | ACT18171,ACT18172,ACT18173 | 2018-07-25 | 13:35
2018-08-09 | acton | u12 | 39.5603 | 84.7371 | 25.9186 | 7.9 | small | 9 | 48 | ACT18213,ACT18214 | 2018-08-09 | 11:01
2018-08-09 | acton | u14 | 39.5809 | 84.7562 | 4.2651 | 1.3 | small | 11 | 62 | ACT18215,ACT18216,ACT18217 | 2018-08-09 | 12:59
2018-08-28 | acton | u12 | 39.5603 | 84.7371 | 25.9186 | 7.9 | small | 9 | 42 | ACT18280,ACT18281 | 2018-08-28 | 11:17
2018-08-28 | acton | u14 | 39.5809 | 84.7562 | 4.2651 | 1.3 | small | 11 | 100 | ACT18292,ACT18293,ACT18294 | 2018-08-28 | 13:25
2018-09-13 | acton | u12 |  |  | 26.5748 | 8.1 | small | 9 | 45 | ACT18303,ACT18304 | 2018-09-13 | 11:51
2018-09-13 | acton | u14 | 39.5809 | 84.7563 | 4.2651 | 1.3 | small | 11 | 39 | ACT18313,ACT18316 | 2018-09-13 | 13:42
2018-10-03 | acton | u12 | 39.5606 | 84.7371 | 26.2467 | 8 | small | 9 | 56 | ACT18369,ACT18370 | 2018-10-03 | 11:12
2018-10-03 | acton | u14 | 39.5808 | 84.7563 | 4.2651 | 1.3 | small | 11 | 29 | ACT18458 | 2018-10-03 | 12:45
2018-10-18 | acton | u12 | 39.5603 | 84.7371 | 26.2467 | 8 | small | 9 | 75 | ACT18468,ACT18469,ACT18470 | 2018-10-18 | 11:58
2018-10-18 | acton | u14 | 39.5809 | 84.7563 | 0 |  | small | 11 | 67 | ACT18481,ACT18482,ACT18483 | 2018-10-18 | 13:48
2018-10-30 | acton | u12 | 39.5603 | 84.7371 | 26.5748 | 8.1 | small | 9 | 62 | ACT18510,ACT18511,ACT18512 | 2018-10-30 | 11:59
2018-10-30 | acton | u14 | 39.581 | 84.7562 | 5.9055 | 1.8 | small | 11 | 50 | ACT18503,ACT18504 | 2018-10-30 | 13:35
2018-11-15 | acton | u12 |  |  | 0 |  | small | 9 | 60 | ACT18429, ACT18418 | 2018-11-15 | 14:21
2018-11-15 | acton | u14 | 39.581 | 84.7563 | 4.2651 | 1.3 | small | 11 | 25 | ACT18446 | 2018-11-15 | 15:15 | not exact time in water
2018-11-30 | acton | u12 | 39.5603 | 84.7371 | 27.5591 | 8.4 | small | 9 | 25 | ACT18393 | 2018-11-30 | 12:10
2018-11-30 | acton | u14 | 39.5809 | 84.7563 | 4.5932 | 1.4 | small | 11 | NA | NA | 2018-11-30 | 14:28 | gas tube was disconnected from funnel and laying horizontal in the water
2018-12-13 | acton | u12 | 39.5604 | 84.7371 | 27.5591 | 8.4 | small | 9 | 4 | NA | NA | NA | u12 96mL to syphon and u14 100mL to syphon
2018-12-13 | acton | u14 | 39.5793 | 84.7555 | 0 |  | small | 11 | 15 | ACT18428 | NA | NA | trap had drifted far from site, other readings taken at 39.58120, 84.75654
u12 96mL to syphon and u14 100mL to syphon
Note on F1: Beaulieu, Jake: option field. Consider using if recorded in ft. Convert to m in next column.
Note on G1: Beaulieu, Jake: required field. site.depth.ft is optional. Enter NA if not recorded
Note on H1: Beaulieu, Jake: 0.5 inch or 1 inch
Note on I1: Beaulieu, Jake: If not recorfded, Pegasus should estimate from previous and/or latter observations.
Note on J1: Beaulieu, Jake: NA if trap waqs non-functional 0 if trap was in good shape, but no gas
Note on K1: Beaulieu, Jake: Full code "PEG17107" with uppercase letters. Separate individual codes by ", ".
Note on A4: Trygstad, Paul: Cannot find data corresponding to this date in the field binder
Note on I9: Balz, Adam: I think this circuit was pulled and then used in the small trap size that replaced it.
Note on I11: Balz, Adam: cuircuit 14 and logger 1 removed and replaced with circuit 11 and logger 1

## controlTrap
Sample Date | Sample Time | Lake | Site | Sample Type | Gas volume | Exetainer Code | Notes
Note on E1: Beaulieu, Jake: initial = sample collected immediately after gas was injected into trap. final = sample collected after incubating in trap for one week.

## field notes
u14 circuit | u14 tube diam | u14 notes | u12 circuit | u12 tube diam | u12 notes